## 1. Introduction
Essential Services Commission
2022-23 Water Performance Report
Data - Introduction
This data summary contains the information behind the tables and figures in our 2022-23 water performance report.
Each tab provides the 2022-23 data for a number of performance indicators along with the preceding four years.
You will find some data for performance indicators not discussed in our report. In earlier annual reports, we used to comment on these indicators but now we only
provide the ongoing data for any interested parties.
You can read our full suite of 2022-23 performance information on our website: |  | www.esc.vic.gov.au/water-performance-reports
Our three documents cover:
· our annual report comparing the performance of the 15 urban water businesses
· water business profiles that provide a snapshot of each business’s performance
· this summary of the data behind our tables and charts in this report.

## 2. Victorian water industry
Essential Services Commission
2022-23 Water Performance Report
Data - The Victorian water industry |  |  |  | Period: | 2023
Water customers (no.) | [5 empty] | Sewerage customers (no.)
| 2019 | 2020 | 2021 | 2022
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Greater Western | 541166 | 560477 | 582181 | 597551 | 615619 | Greater Western | 531691 | 550982 | 572629 | 587954 | 606004
South East | 778018 | 792546 | 803106 | 813771 | 824097 | South East | 751488 | 766516 | 777355 | 788747 | 799481
Yarra Valley | 821734 | 839516 | 856092 | 867700 | 879124 | Yarra Valley | 764990 | 782501 | 798701 | 811021 | 821504
Barwon | 161695 | 165804 | 170759 | 174511 | 178505 | Barwon | 146272 | 150417 | 155238 | 158879 | 162729
Central Highlands | 71054 | 72128 | 74388 | 76352 | 78173 | Central Highlands | 61156 | 62475 | 64217 | 66179 | 68039
Coliban | 76478 | 77709 | 79083 | 80073 | 80865 | Coliban | 69173 | 70474 | 72033 | 73101 | 73856
East Gippsland | 24128 | 24448 | 24859 | 25272 | 25559 | East Gippsland | 20090 | 20206 | 20572 | 20861 | 21140
Gippsland | 70906 | 71963 | 73641 | 74794 | 75662 | Gippsland | 63600 | 64559 | 66195 | 67261 | 68092
Goulburn Valley | 59499 | 60279 | 61297 | 62262 | 63110 | Goulburn Valley | 52492 | 53206 | 54114 | 55021 | 55829
GWMWater | 31947 | 32052 | 32202 | 32332 | 32465 | GWMWater | 26043 | 26126 | 26290 | 26299 | 26346
Lower Murray | 34040 | 34311 | 34784 | 35171 | 35289 | Lower Murray | 29612 | 29868 | 30315 | 30687 | 30802
North East | 51923 | 52707 | 53791 | 54678 | 55273 | North East | 47129 | 47852 | 49074 | 49931 | 50689
South Gippsland | 20692 | 20956 | 21311 | 21818 | 22104 | South Gippsland | 18257 | 18517 | 18867 | 19280 | 19622
Wannon | 43302 | 43603 | 44048 | 44444 | 44844 | Wannon | 37038 | 37321 | 37732 | 38151 | 38526
Westernport | 16948 | 17256 | 17652 | 18149 | 18337 | Westernport | 15497 | 15794 | 16269 | 16714 | 16883
Length of water mains (km) | [5 empty] | Length of sewer mains (km)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 |  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Greater Western | 7636.96 | 7921.78 | 8185.2 | 8376.06 | 8589.9 | Greater Western | 5874.39 | 6058.38 | 6251.24 | 6408.1 | 6584.04
South East | 10309 | 10410 | 10548.28 | 10686.6 | 10845 | South East | 9705 | 9801 | 9915.25 | 10013.29 | 10128
Yarra Valley | 10589 | 10766 | 10900 | 10997.3324 | 11131.657 | Yarra Valley | 9807.4 | 9943 | 10054 | 10131.22 | 10265.54
Barwon | 4330 | 4426 | 4492 | 4562 | 4633 | Barwon | 2688 | 2748 | 2787 | 2821 | 2860
Central Highlands | 2572 | 2596 | 2625 | 2651 | 2679 | Central Highlands | 1451 | 1478 | 1511 | 1552 | 1593
Coliban | 2289.5 | 2309 | 2323.46 | 2341.18 | 2360.08 | Coliban | 1982.64 | 2013 | 2030.39 | 2050 | 2074.36
East Gippsland | 964 | 1003.61 | 973 | 989 | 989.64 | East Gippsland | 711 | 732 | 735 | 740 | 745.18
Gippsland | 2158.9 | 2167 | 2192 | 2208.019 | 2233 | Gippsland | 1762 | 1771 | 1799 | 1825.437 | 1837
Goulburn Valley | 1872 | 1884.69 | 1897 | 1915 | 1932 | Goulburn Valley | 1324 | 1338.47 | 1356 | 1373 | 1390
GWMWater | 1382 | 1388.2 | 1390.2 | 1392.9 | 1402.5 | GWMWater | 695.6 | 696.9 | 698.7 | 700.6 | 710.8
Lower Murray | 971.086 | 980 | 981 | 995 | 1002 | Lower Murray | 658 | 666 | 681 | 689 | 696
North East | 1638.99 | 1657.58 | 1674.39 | 1689.25 | 1717 | North East | 1223.99 | 1234.32 | 1252.95 | 1274.992 | 1300.67
South Gippsland | 743 | 744 | 748.6586 | 730 | 746 | South Gippsland | 506 | 508.4443 | 518.4057 | 525 | 534
Wannon | 1976.4 | 1980 | 2001.46 | 2007 | 2016.22 | Wannon | 944.9 | 950.37 | 961.81 | 973 | 997.73
Westernport | 468 | 481 | 484.8 | 489.7 | 490 | Westernport | 376 | 385.8 | 390.1 | 393.1 | 397

## 3. Water use and bill payment
Essential Services Commission
2022-23 Water Performance Report
Data - How much are households using and paying for water?
Average annual household consumption (kilolitres per household)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Lower Murray | 518.5558 | 488.9751 | 477.0612 | 460.945 | 387.7715
Goulburn Valley | 285.1572 | 260.8494 | 253.8898 | 239.594 | 216.9209
GWMWater | 246.447 | 232.7536 | 221.4021 | 229.5105 | 198.8694
North East | 223.7897 | 215.3981 | 199.9389 | 178.5149 | 180.8951
Coliban | 209.7424 | 194.2471 | 193.3074 | 191.0985 | 173.9007
Gippsland | 176.6084 | 160.5644 | 163.9722 | 156.3773 | 156.4531
Barwon | 171.1156 | 159.6647 | 156.8397 | 157.4212 | 145.3098
Central Highlands | 161.029 | 150.9326 | 146.6812 | 147.0088 | 141.53
Yarra Valley | 154.7655 | 147.573 | 148.9757 | 147.7065 | 140.0629
South East | 147.9366 | 144.7799 | 147.5505 | 148.3606 | 136.7465
Greater Western | 151.0159 | 149.3904 | 143.1241 | 138.4294 | 135.7818
East Gippsland | 159.8753 | 152.9368 | 144.9692 | 126.2319 | 133.5428
Wannon | 147.2103 | 141.1663 | 138.7545 | 144.4556 | 130.7568
South Gippsland | 119.4764 | 115.0189 | 118.0916 | 114.7401 | 115.5023
Westernport | 89.3093 | 87.4513 | 91.64 | 92.4089 | 86.4183
Owner occupiers — average household bill breakdown ($, nominal)
| Water Fixed | Water Variable | Sewer Fixed | Sewer Variable | Total
Greater Western | 206.31 | 374.5404 | 238.72 | 78.8365 | 898.4
South East Water | 83.73 | 371.472 | 367.76 | 96.8576 | 919.8195
Yarra Valley Water | 78.97 | 350.2601 | 451.05 | 118.4185 | 998.6987
Barwon Water | 135.11 | 323.8374 | 584.37 | 0 | 1043.3174
Central Highlands Water | 218.76 | 295.2032 | 699.64 | 0 | 1213.6032
Coliban Water | 231.75 | 397.7978 | 696.46 | 0 | 1326.0078
East Gippsland Water | 225.53 | 315.909 | 678.43 | 0 | 1219.869
Gippsland Water | 178.14 | 350.0966 | 818.45 | 0 | 1346.6866
Goulburn Valley Water | 165.16 | 246.5957 | 428.98 | 0 | 840.7357
GWMWater | 449.4 | 349.4534 | 539.57 | 0 | 1338.4234
Lower Murray Water | 215.46 | 215.0775 | 508.66 | 0 | 939.1975
North East Water | 211.71 | 456.8867 | 244.48 | 0 | 913.0767
South Gippsland Water | 348.52 | 252.2224 | 540.89 | 0 | 1141.6324
Wannon Water | 175.21 | 191.0603 | 722.87 | 0 | 1089.1403
Westernport Water | 408.16 | 182.3686 | 633.18 | 0 | 1223.7086
Owner occupiers — average household bills ($, nominal)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Gippsland | 1351.9328 | 1322.6849 | 1331.4182 | 1301.4192 | 1346.6866
GWMWater | 1389.6227 | 1381.0853 | 1345.6942 | 1343.9672 | 1338.4234
Coliban | 1388.193 | 1347.1537 | 1344.0052 | 1323.7383 | 1326.0078
Westernport | 1170.1758 | 1172.3793 | 1189.2841 | 1186.7788 | 1223.7086
East Gippsland | 1214.102 | 1207.0881 | 1194.2524 | 1155.0405 | 1219.869
Central Highlands | 1265.8366 | 1231.571 | 1217.3052 | 1193.7131 | 1213.6032
South Gippsland | 998.8249 | 992.9178 | 1052.5493 | 1076.0916 | 1141.6324
Wannon | 1113.3502 | 1097.9384 | 1089.0637 | 1078.883 | 1089.1403
Barwon | 1046.6677 | 1031.825 | 1032.5537 | 1028.843 | 1043.3174
Yarra Valley | 1076.5511 | 1055.6113 | 1058.2563 | 1017.694 | 998.6987
Lower Murray | 1006.7917 | 985.3972 | 981.7899 | 963.8844 | 939.1975
South East | 956.0988 | 970.2595 | 970.941 | 956.7698 | 919.8195
North East | 950.8586 | 938.4215 | 918.106 | 867.8126 | 913.0767
Greater Western | 957.9036 | 981.5036 | 951.9368 | 889.5285 | 898.4069
Goulburn Valley | 948.6686 | 907.3797 | 888.013 | 850.539 | 840.7357
Tenants — average household bills ($, nominal)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Yarra Valley | 541.8811 | 519.2413 | 521.8863 | 492.914 | 468.6787
South East | 469.035 | 486.8095 | 496.681 | 499.1598 | 468.3295
North East | 504.5786 | 490.6315 | 471.016 | 427.1326 | 456.8867
Greater Western | 470.1836 | 495.7036 | 488.4968 | 459.3585 | 453.3769
Coliban | 473.053 | 436.1237 | 433.6852 | 423.8183 | 397.7978
Gippsland | 361.5528 | 333.0749 | 347.5882 | 335.1792 | 350.0966
GWMWater | 441.3127 | 428.7253 | 388.8042 | 392.8072 | 349.4534
East Gippsland | 343.732 | 333.1881 | 319.2874 | 284.1605 | 315.909
Central Highlands | 310.6014 | 290.221 | 287.9352 | 291.7831 | 295.2032
Barwon | 308.5077 | 291.695 | 291 | 292.963 | 280.8374
South Gippsland | 217.9249 | 212.5778 | 228.5368 | 233.4616 | 252.2224
Goulburn Valley | 334.8886 | 302.0897 | 290.323 | 267.339 | 246.5957
Lower Murray | 313.3917 | 289.5672 | 281.5599 | 266.9844 | 215.0775
Wannon | 208.0902 | 198.7384 | 196.0837 | 203.403 | 191.0603
Westernport | 178.9758 | 176.2493 | 186.0841 | 187.2388 | 182.3686
Residential customers with instalment plans (per 100 customers)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Gippsland | 13.1188 | 12.5893 | 12.1178 | 10.9777 | 11.1017
GWMWater | 11.0789 | 9.0178 | 7.9049 | 7.6372 | 8.634
Wannon | 7.5584 | 7.6635 | 6.8925 | 7.1083 | 7.4688
Coliban | 7.3133 | 7.2257 | 6.1677 | 6.2535 | 6.4096
Yarra Valley | 6.3064 | 6.2342 | 6.3098 | 6.0963 | 6.1154
Central Highlands | 5.2634 | 5.2897 | 3.0958 | 5.2988 | 5.4601
Barwon | 2.5474 | 4.768 | 5.3105 | 5.1649 | 5.3222
Goulburn Valley | 6.2939 | 6.2068 | 5.2843 | 5.3945 | 5.1689
North East | 6.1019 | 6.2438 | 5.8421 | 5.5746 | 4.7101
South East | 4.8507 | 5.3906 | 4.9256 | 4.6038 | 4.6737
Greater Western | 7.9791 | 6.4132 | 6.3698 | 4.7057 | 4.6241
Lower Murray | 3.8608 | 3.618 | 3.3776 | 3.1244 | 3.0072
South Gippsland | 2.824 | 3.3425 | 3.1164 | 3.4213 | 2.5116
East Gippsland | 1.8084 | 1.1263 | 0.83961 | 1.6395 | 1.6776
Westernport | 4.764 | 2.0842 | 1.5717 | 1.321 | 1.1565
Non-residential customers with instalment plans (per 100 customers)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Wannon | 1.8236 | 2.1939 | 1.2108 | 1.3003 | 1.5082
GWMWater | 1.2799 | 1.8147 | 0.85106 | 0.59689 | 1.4496
Gippsland | 2.0844 | 1.4361 | 1.5813 | 1.3154 | 1.2921
Westernport | 2.4108 | 1.4719 | 1.6231 | 1.0753 | 1.0619
South Gippsland | 0.6252 | 1.9152 | 1.2889 | 2.4833 | 0.92005
Coliban | 1.0303 | 1.4649 | 0.86366 | 0.72095 | 0.79208
Central Highlands | 0.62981 | 0.62565 | 0.51617 | 1.0777 | 0.75063
Yarra Valley | 0.68072 | 0.62856 | 0.64348 | 0.77149 | 0.74627
East Gippsland | 1.1868 | 0.74274 | 0.33967 | 1.0516 | 0.70779
Goulburn Valley | 0.49875 | 0.48055 | 0.72598 | 0.66144 | 0.68797
Barwon | 0.23374 | 0.24531 | 0.60809 | 0.47217 | 0.61134
South East | 0.22924 | 0.41668 | 0.43978 | 0.38463 | 0.42516
North East | 0.45396 | 0.36364 | 0.42409 | 0.52576 | 0.41425
Greater Western | 1.9573 | 0.28361 | 0.38532 | 0.26371 | 0.27454
Lower Murray | 0.15524 | 0.23196 | 0.10246 | 0.1017 | 0.076316
Residential supply restrictions for nonpayment of bills (per 100 customers)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Greater Western | 0.029616 | 0.013407 | 0 | 0 | 0
South East | 0.13471 | 0.041321 | 0 | 0 | 0
Yarra Valley | 0.25177 | 0.1669 | 0 | 0 | 0
Barwon | 0.13732 | 0.10054 | 0 | 0 | 0
Central Highlands | 1.3193 | 0.34501 | 0 | 0 | 0
Coliban | 0.55691 | 0.22921 | 0 | 0 | 0
East Gippsland | 0 | 0.0046542 | 0 | 0 | 0
Gippsland | 0.11255 | 0.1229 | 0 | 0 | 0
Goulburn Valley | 0.10173 | 0.085457 | 0 | 0 | 0
GWMWater | 0.59063 | 0.24847 | 0 | 0 | 0
Lower Murray | 0.059652 | 0.069009 | 0 | 0 | 0
North East | 0.33829 | 0.15823 | 0 | 0 | 0
South Gippsland | 0.091465 | 0.10129 | 0 | 0 | 0
Wannon | 0.3687 | 0.31741 | 0 | 0 | 0
Westernport | 0.23883 | 0.098955 | 0 | 0 | 0
Non-residential supply restrictions for nonpayment of bills (per 100 customers)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Greater Western | 0 | 0 | 0 | 0 | 0
South East | 0.021337 | 0.004864 | 0 | 0 | 0
Yarra Valley | 0.0052498 | 0.0034348 | 0 | 0 | 0
Barwon | 0 | 0 | 0 | 0 | 0
Central Highlands | 0.26242 | 0.017379 | 0 | 0 | 0
Coliban | 0.12879 | 0.099559 | 0 | 0 | 0
East Gippsland | 0 | 0 | 0 | 0 | 0
Gippsland | 0 | 0 | 0 | 0 | 0
Goulburn Valley | 0.093516 | 0.031003 | 0 | 0 | 0
GWMWater | 0.12799 | 0.064048 | 0 | 0 | 0
Lower Murray | 0 | 0 | 0 | 0 | 0
North East | 0 | 0 | 0 | 0 | 0
South Gippsland | 0 | 0 | 0 | 0 | 0
Wannon | 0.015586 | 0.062237 | 0 | 0 | 0
Westernport | 0.096432 | 0.18399 | 0 | 0 | 0
Residential legal actions [to recover unpaid debt] (per 100 customers)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Lower Murray | 0 | 0.013144 | 0 | 0.044817 | 0.1148
Gippsland | 0 | 0.018208 | 0 | 0 | 0.0028757
Greater Western | 0.0054396 | 0.0017488 | 0 | 0 | 0
South East | 0 | 0.00095777 | 0 | 0 | 0
Yarra Valley | 0.0083705 | 0.0030719 | 0 | 0 | 0
Barwon | 0 | 0 | 0 | 0 | 0
Central Highlands | 0.074995 | 0.036159 | 0 | 0 | 0
Coliban | 0 | 0 | 0 | 0 | 0
East Gippsland | 0.099155 | 0.027925 | 0 | 0 | 0
Goulburn Valley | 0.0056515 | 0.0018578 | 0 | 0 | 0
GWMWater | 0.044022 | 0.01827 | 0 | 0 | 0
North East | 0.0021143 | 0.0062458 | 0 | 0 | 0
South Gippsland | 0 | 0 | 0 | 0 | 0
Wannon | 0 | 0 | 0 | 0 | 0
Westernport | 0.069135 | 0.018554 | 0 | 0 | 0
Average debt level (residential) - restrictions
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Greater Western | 2513.9203 | 2705.5234 | 0 | 0 | 0
South East | 1919.36 | 2151.879 | 0 | 0 | 0
Yarra Valley | 1263.83 | 1143.19 | 0 | 0 | 0
Barwon | 794 | 811.2 | 0 | 0 | 0
Central Highlands | 695 | 766 | 0 | 0 | 0
Coliban | 520.66 | 667 | 0 | 0 | 0
East Gippsland | 0 | 5740.42 | 0 | 0 | 0
Gippsland | 1302 | 1426 | 0 | 0 | 0
Goulburn Valley | 573 | 570.41 | 0 | 0 | 0
GWMWater | 928.104 | 831.116 | 0 | 0 | 0
Lower Murray | 1024.98 | 2534 | 9678.72 | 2041.96 | 0
North East | 443.43 | 558.86 | 0 | 0 | 0
South Gippsland | 634.5 | 609 | 0 | 0 | 0
Wannon | 431 | 566 | 0 | 0 | 0
Westernport | 1348 | 2523 | 0 | 0 | 0
Average debt level (residential) - legal action
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Greater Western | 2899.2963 | 2464.6667 | 0 | 0 | 0
South East | 0 | 2501 | 0 | 0 | 0
Yarra Valley | 3012.66 | 6628 | 0 | 0 | 0
Barwon | 0 | 0 | 0 | 0 | 0
Central Highlands | 1460 | 5949 | 0 | 0 | 0
Coliban | 0 | 0 | 0 | 0 | 0
East Gippsland | 2388 | 2016.18 | 0 | 0 | 0
Gippsland | 0 | 11477.84 | 0 | 0 | 43549
Goulburn Valley | 4420.53 | 2557.45 | 0 | 0 | 0
GWMWater | 2740 | 3159.116 | 0 | 0 | 0
Lower Murray | 0 | 2671 | 0 | 3321.63 | 2376.9
North East | 926.51 | 1813.93 | 0 | 0 | 0
South Gippsland | 0 | 0 | 0 | 0 | 0
Wannon | 0 | 0 | 0 | 0 | 0
Westernport | 2483 | 2414 | 0 | 0 | 0
Hardship grants approved (per 100 customers)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Coliban | 0.7368 | 0.86448 | 0.54152 | 0.43425 | 2.824
Barwon | 1.0637 | 1.5702 | 2.244 | 2.0954 | 1.9871
East Gippsland | 1.0104 | 1.494 | 1.4009 | 1.4469 | 1.412
Westernport | 0.18855 | 0.66176 | 1.5656 | 1.3973 | 1.325
North East | 0.24314 | 0.23942 | 0.36271 | 0.18228 | 1.3163
Yarra Valley | 1.0531 | 1.5609 | 0.93677 | 0.85095 | 0.89616
Goulburn Valley | 0.32214 | 0.21922 | 0.38305 | 0.42682 | 0.55507
South East | 0.10459 | 0.071422 | 0.10961 | 0.3369 | 0.47457
GWMWater | 0.2568 | 0.34347 | 0.41815 | 0.13748 | 0.39965
Wannon | 0.49883 | 0.48418 | 0.47067 | 0.39754 | 0.35206
Gippsland | 0.26518 | 0.27919 | 0.25307 | 0.20084 | 0.22574
Greater Western | 0.21134 | 0.17449 | 0.31531 | 0.20021 | 0.18407
Central Highlands | 0.12856 | 0.043692 | 0.016041 | 0.032621 | 0.092826
Lower Murray | 0 | 0.0065722 | 0.0032383 | 0 | 0
South Gippsland | 0.0057166 | 0 | 0.0055157 | 0 | 0
Average value of hardship grants ($, nominal)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
South East | 462.877 | 301.3538 | 422.6338 | 509.2156 | 540.1843
Yarra Valley | 208.6163 | 655.8828 | 498.0138 | 473.2008 | 416.8022
Wannon | 294.75 | 293.7111 | 318.5141 | 220.8013 | 314.4963
GWMWater | 35.306 | 139.3404 | 206.8359 | 347.7632 | 254.2348
Greater Western | 590.489 | 533.0011 | 469.2158 | 462.5054 | 210.3572
Gippsland | 165.9471 | 283.5072 | 175.3456 | 248.1004 | 194.5732
East Gippsland | 151.986 | 209.7539 | 248.0667 | 189.13 | 193.3949
Central Highlands | 288.6667 | 432.5862 | 756.6364 | 324.7926 | 169.9552
Goulburn Valley | 108.3264 | 110.8824 | 189.0382 | 135.7246 | 160.873
Coliban | 285.5215 | 173.326 | 315.9615 | 450.6122 | 144.1072
North East | 566.3208 | 508.5031 | 704.4494 | 949.7582 | 125.8554
Barwon | 75.4761 | 186.3978 | 140.6806 | 115.8511 | 113.2969
Westernport | 160 | 45.3271 | 59.8737 | 53.5714 | 59.3421
Lower Murray | 0 | 446 | 500 | 0 | 0
South Gippsland | 1000 | 0 | 1000 | 0 | 0

## 4. Customer responsiveness
Essential Services Commission
2022-23 Water Performance Report
Data - How do water businesses respond to their customers?
Victorian water business rankings - Overall benchmark score and each pillar under SenseCX
Water business | Ease | Sentiment | Success | Number of calls | Early exit*
Barwon | 64 | 79 | 68 | 60 | 7
Coliban | 42 | 70 | 70 | 60 | 5
GWMWater | 43 | 70 | 67 | 60 | 0
South East | 41 | 67 | 65 | 60 | 37
South Gippsland | 37 | 68 | 65 | 60 | 6
Yarra Valley | 40 | 63 | 66 | 60 | 3
Wannon | 34 | 66 | 65 | 60 | 1
Westernport | 35 | 67 | 65 | 60 | 4
Greater Western | 36 | 63 | 64 | 60 | 22
Central Highlands | 38 | 62 | 60 | 60 | 4
Goulburn Valley | 32 | 63 | 65 | 60 | 1
North East | 34 | 61 | 63 | 60 | 8
Gippsland | 32 | 62 | 65 | 60 | 0
Lower Murray | 34 | 64 | 62 | 60 | 3
East Gippsland | 35 | 61 | 60 | 60 | 3
| 38 | 66 | 65 | 900 | 104
* Early Exit calls did not receive a score due to wait/hold time exceeding 10 minutes, call went to voicemail or was disconnected.
Average time taken to connect to an operator — account and fault line business-reported data (seconds)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
South East | 78.6295 | 34.942 | 78.0855 | 314.8115 | 503.466
Greater Western | 124.7313 | 29.0833 | 98.2683 | 104.1165 | 270.839
North East | 10.0229 | 8.8563 | 10.2401 | 11.5252 | 86.0368
Yarra Valley | 27.2805 | 30.9044 | 32.8706 | 49.5464 | 85.6331
Coliban | 38.5853 | 41.1451 | 93.0429 | 66.2246 | 73.3837
Barwon | 33.1217 | 24.7349 | 23.3295 | 33.6491 | 56.4545
Gippsland | 54.47 | 71.3797 | 42.8387 | 35.7789 | 32.0295
Central Highlands | 43.6105 | 51.6815 | 88.7033 | 34.2305 | 25.2323
Lower Murray | 14.5896 | 12.7893 | 15.0281 | 19.2731 | 25.0882
Goulburn Valley | 15.0403 | 16.7089 | 17.4549 | 18.3423 | 18.8597
Wannon | 14.616 | 14.9313 | 15.0204 | 10.3108 | 15.3152
GWMWater | 12.2926 | 10.7045 | 11.599 | 13.0751 | 15.2376
South Gippsland | 5.7183 | 7.0402 | 10.9675 | 11.3207 | 10.0519
Westernport | 7.8105 | 11.217 | 9.1369 | 9.5664 | 8.0814
East Gippsland | 7.4327 | 6.5565 | 6.4264 | 6.0751 | 6.0586
Calls answered within 30 seconds - account line and fault lines - (per cent)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
East Gippsland | 99.8306 | 99.5401 | 98.8212 | 99.444 | 99.6511
Wannon | 98.6579 | 98.1504 | 98.3654 | 97.9516 | 97.9926
Westernport | 95.7908 | 97.5786 | 96.6029 | 97.0476 | 97.338
South Gippsland | 98.505 | 98.1901 | 96.761 | 96.0013 | 95.7929
Goulburn Valley | 96.7385 | 95.2526 | 94.3207 | 93.6263 | 93.6972
GWMWater | 90.9713 | 92.9339 | 92.7943 | 88.9275 | 88.5773
Central Highlands | 58.5886 | 59.6487 | 46.3677 | 77.1229 | 81.8646
Lower Murray | 93.7713 | 93.3774 | 88.6578 | 80.9542 | 80.1448
Gippsland | 67.8284 | 61.2408 | 75.8575 | 77.5615 | 78.9397
North East | 98.4208 | 98.6212 | 98.7593 | 95.8256 | 68.2837
Coliban | 83.033 | 81.2131 | 54.1304 | 69.0328 | 68.2054
Barwon | 66.9708 | 77.0904 | 83.3697 | 74.4783 | 62.1966
Yarra Valley | 90.1794 | 88.5226 | 87.8882 | 65.2989 | 53.3304
Greater Western | 53.6378 | 76.4314 | 57.2705 | 56.4955 | 37.8541
South East | 58.2292 | 72.3789 | 60.6597 | 41.5057 | 34.9606
Complaints received by water business [total] (per 100 customers)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
North East | 0.37748 | 0.65646 | 0.62464 | 0.69681 | 1.5921
Goulburn Valley | 0.45211 | 0.58561 | 0.5922 | 0.44329 | 0.90477
Yarra Valley | 1.2356 | 1.1004 | 1.1461 | 0.95298 | 0.88236
Coliban | 0.64463 | 0.63571 | 1.5465 | 0.7081 | 0.80505
South East | 0.4586 | 0.52186 | 0.69667 | 0.69971 | 0.78243
Barwon | 0.42797 | 0.41374 | 0.67112 | 0.75353 | 0.7546
Gippsland | 1.4216 | 0.91714 | 0.69119 | 0.607 | 0.73485
Wannon | 0.58889 | 0.52978 | 0.83999 | 0.82351 | 0.63777
Greater Western | 0.33298 | 0.39288 | 0.42444 | 0.44147 | 0.51233
Westernport | 0.57824 | 0.29555 | 1.3653 | 0.65017 | 0.48536
GWMWater | 0.45388 | 0.65519 | 0.50929 | 0.38043 | 0.40659
South Gippsland | 0.69109 | 0.48673 | 0.7414 | 0.59584 | 0.38455
Central Highlands | 0.86554 | 0.51159 | 0.40598 | 0.42566 | 0.36586
Lower Murray | 0.31727 | 0.29145 | 0.25011 | 0.25874 | 0.34855
East Gippsland | 0.36472 | 0.35586 | 0.28159 | 0.28094 | 0.313
Complaint types (per cent) 2022-23
| Water quality | Supply reliability | Sewerage service | Payment Issues | Flow rate / water pressure | Sewer odour | Other
Greater Western | 39.38% | 6.975% | 2.346% | 34.12% | 0.2219% | 0.7292% | 16.23%
South East | 37.07% | 0.2792% | 0.07754% | 20.46% | 14.33% | 0.5893% | 27.2%
Yarra Valley | 38.55% | 18.69% | 5.092% | 23.58% | 11.54% | 1.418% | 1.134%
Barwon | 15.52% | 0% | 4.306% | 18.49% | 6.756% | 4.826% | 50.11%
Central Highlands | 29.02% | 20.28% | 2.797% | 9.091% | 25.17% | 2.098% | 11.54%
Coliban | 38.86% | 6.452% | 2.765% | 8.909% | 2.304% | 12.14% | 28.57%
East Gippsland | 47.5% | 1.25% | 0% | 10% | 11.25% | 8.75% | 21.25%
Gippsland | 40.11% | 1.259% | 0.5396% | 12.77% | 27.7% | 3.597% | 14.03%
Goulburn Valley | 56.57% | 1.226% | 1.226% | 7.005% | 0.3503% | 20.14% | 13.49%
GWMWater | 34.85% | 4.545% | 6.818% | 25% | 8.333% | 6.061% | 14.39%
Lower Murray | 64.23% | 0.813% | 1.626% | 1.626% | 0.813% | 0.813% | 30.08%
North East | 31.59% | 0.3409% | 3.295% | 1.591% | 38.52% | 0.3409% | 24.32%
South Gippsland | 32.94% | 0% | 1.176% | 7.059% | 34.12% | 4.706% | 20%
Wannon | 46.85% | 2.797% | 3.147% | 11.54% | 0.6993% | 1.748% | 33.22%
Westernport | 23.6% | 0% | 0% | 21.35% | 7.865% | 0% | 47.19%
Total | 38.44% | 4.327% | 2.347% | 14.17% | 12.66% | 4.53% | 23.52%

## 5. Network reliability
Essential Services Commission
2022-23 Water Performance Report
Data - How reliable are the water and sewer networks?
Water supply interruptions (planned and unplanned) (per 100 kilometres of water main)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Yarra Valley | 67.1735 | 60.3474 | 54.8716 | 54.0495 | 50.6034
GWMWater | 46.7438 | 38.8273 | 33.2326 | 33.9579 | 38.6453
South East | 37.928 | 33.9193 | 28.6492 | 29.813 | 32.568
Westernport | 27.3504 | 16.4241 | 17.3267 | 29.2016 | 26.1224
Greater Western | 38.7065 | 36.4438 | 25.766 | 26.5638 | 25.9258
Barwon | 32.2402 | 25.0565 | 22.5289 | 24.441 | 25.4695
Gippsland | 26.1244 | 22.7965 | 24.7263 | 23.007 | 21.9436
South Gippsland | 23.5532 | 22.4462 | 18.5665 | 24.5205 | 21.3137
Lower Murray | 28.7307 | 23.2653 | 22.0183 | 22.1106 | 21.1577
North East | 25.0764 | 26.6051 | 22.2768 | 23.5608 | 20.7921
Central Highlands | 13.3748 | 13.829 | 12.0381 | 13.6175 | 17.2079
Goulburn Valley | 17.735 | 18.0932 | 22.5092 | 21.2533 | 16.2526
East Gippsland | 13.4855 | 12.2558 | 13.0524 | 12.1335 | 13.9445
Coliban | 12.6665 | 14.7683 | 10.2003 | 12.0879 | 11.864
Wannon | 9.7652 | 6.7677 | 8.6937 | 10.3139 | 10.3163
Customer interruption frequency — planned and unplanned (interruptions per customer)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Westernport | 0.27083 | 0.13462 | 0.23561 | 0.62477 | 0.42466
GWMWater | 0.70608 | 0.44337 | 0.2966 | 0.32262 | 0.33621
Yarra Valley | 0.3142 | 0.32843 | 0.26982 | 0.28268 | 0.2348
South East | 0.26292 | 0.2366 | 0.19381 | 0.1984 | 0.21601
East Gippsland | 0.12728 | 0.18672 | 0.15499 | 0.14051 | 0.16237
Barwon | 0.27262 | 0.20942 | 0.16712 | 0.13785 | 0.15405
North East | 0.1596 | 0.17667 | 0.12666 | 0.14907 | 0.1498
Gippsland | 0.22268 | 0.17641 | 0.20168 | 0.1621 | 0.14844
Wannon | 0.072399 | 0.057978 | 0.086633 | 0.095333 | 0.14216
South Gippsland | 0.19118 | 0.25549 | 0.16118 | 0.20524 | 0.1369
Greater Western | 0.24985 | 0.15345 | 0.12516 | 0.15961 | 0.12553
Coliban | 0.097832 | 0.1843 | 0.079676 | 0.087845 | 0.12466
Lower Murray | 0.17612 | 0.15992 | 0.14906 | 0.14404 | 0.12454
Central Highlands | 0.10157 | 0.097022 | 0.095674 | 0.11131 | 0.12439
Goulburn Valley | 0.11022 | 0.11049 | 0.12214 | 0.14503 | 0.099445
Planned customer water supply interruption frequency in peak hours (interruptions per customer)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Central Highlands | 0.0042081 | 0.0089008 | 0.011736 | 0.013006 | 0.0091975
Gippsland | 0.011099 | 0.015161 | 0.0070477 | 0.0039442 | 0.0075467
South East | 0.0098687 | 0.010398 | 0.014622 | 0.008377 | 0.0071181
Barwon | 0.0071369 | 0.0048853 | 0.0039119 | 0.0018681 | 0.0059046
Westernport | 0 | 0 | 0 | 0 | 0.0033266
South Gippsland | 0.018606 | 0.0084463 | 0.0053024 | 0.0098084 | 0.0023978
Lower Murray | 0.0027615 | 0.0036723 | 0.0016962 | 0.0022462 | 0.0022387
GWMWater | 0.0021598 | 0.021153 | 0.0042233 | 0.0007423 | 0.0021254
Yarra Valley | 0.00037603 | 0.00030851 | 0.00020091 | 0 | 0.00059036
Greater Western | 0.00059686 | 0.0009706 | 0.000797 | 0.00033135 | 0.00045808
Goulburn Valley | 0.00089077 | 0.0010949 | 0.00086464 | 3.2122e-05 | 0.00031691
North East | 0.0037748 | 0.0022767 | 0.0002045 | 1.8289e-05 | 3.6184e-05
Wannon | 0.00099303 | 0.00098617 | 0.0069243 | 6.7501e-05 | 2.23e-05
Coliban | 0 | 0 | 0 | 0 | 0
East Gippsland | 0 | 0.00028632 | 0.00012068 | 7.9139e-05 | 0
Average duration of planned interruptions (minutes)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Coliban | 124.9348 | 158.7406 | 0 | 226.7778 | 283
Central Highlands | 158.693 | 136.5025 | 209.0317 | 181.0414 | 206.9529
GWMWater | 245.2971 | 245.8315 | 153.1657 | 193.6597 | 204.2151
East Gippsland | 126.3742 | 158.2461 | 176.2313 | 170.107 | 180.157
Gippsland | 172.8013 | 189.1688 | 166.4485 | 170.6592 | 153.5227
Greater Western | 141.8994 | 148.4086 | 148.5804 | 126.9131 | 146.2547
South East | 161.1369 | 129.9347 | 148.8597 | 133.9829 | 139.7287
South Gippsland | 234.2751 | 129.3844 | 119.4793 | 145.2233 | 138.3147
Barwon | 157.7234 | 4.3979 | 5.042 | 109.1593 | 126.5702
Yarra Valley | 112.9861 | 117.7004 | 112.8764 | 109.5746 | 122.2661
Wannon | 122.348 | 141.1172 | 178.4451 | 154.3614 | 115.8464
North East | 91.6698 | 79.7089 | 89.8807 | 90.7488 | 98.2287
Goulburn Valley | 95.9879 | 96.5813 | 77.7321 | 79.641 | 88.0223
Lower Murray | 79.1982 | 84.738 | 79.4482 | 65.9268 | 54.6479
Westernport | 131.8031 | 131.8879 | 168.0446 | 147.8142 | 122.1776
Average duration of unplanned interruptions (minutes)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Coliban | 142.0524 | 112.4542 | 141.5298 | 104.985 | 194.9638
Wannon | 106.2155 | 110.8454 | 138.5411 | 150.2074 | 188.5229
Greater Western | 110.5483 | 112.6703 | 112.9047 | 117.8621 | 138.8646
Central Highlands | 125.2412 | 115.9538 | 117.9378 | 136.8228 | 116.949
North East | 97.5081 | 163.599 | 121.5645 | 84.0583 | 111.0049
Yarra Valley | 94.9993 | 105.8847 | 97.54 | 105.3875 | 105.6854
East Gippsland | 79.4722 | 168.6294 | 74.4297 | 88.7629 | 103.8453
Barwon | 94.3703 | 3.3373 | 4.5144 | 98.788 | 98.034
GWMWater | 115.4906 | 102.9228 | 106.6313 | 80.5409 | 95.3943
Westernport | 85.9336 | 72.5263 | 71.7993 | 83.9397 | 93.8077
South Gippsland | 129.9201 | 108.0626 | 80.2339 | 78.7832 | 92.0401
South East | 83.9155 | 88.2092 | 89.4655 | 87.6532 | 90.1238
Gippsland | 93.3705 | 90.7669 | 69.3243 | 65.1365 | 84.8528
Goulburn Valley | 98.6015 | 106.2641 | 93.7266 | 117.524 | 84.1919
Lower Murray | 62.0383 | 66.6469 | 58.9831 | 52.4298 | 58.8251
Average customer minutes off supply (minutes)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Westernport | 30.5185 | 11.2977 | 30.5749 | 79.0257 | 48.3287
GWMWater | 91.7477 | 53.5429 | 32.9343 | 31.701 | 37.7908
Yarra Valley | 31.3644 | 36.2887 | 27.9641 | 30.2306 | 26.1052
Coliban | 13.887 | 25.2096 | 11.2765 | 9.3456 | 24.3737
East Gippsland | 12.7958 | 30.7068 | 19.3088 | 18.6071 | 23.2686
Wannon | 8.1127 | 7.0903 | 13.9726 | 14.4499 | 23.1603
South East | 25.8301 | 23.3219 | 20.2815 | 19.2378 | 21.2556
Greater Western | 30.1627 | 19.0911 | 15.5519 | 19.4082 | 17.7375
Barwon | 34.3724 | 0.82359 | 0.80494 | 14.2154 | 17.1932
Gippsland | 27.376 | 24.1632 | 23.1187 | 17.6494 | 16.3282
North East | 15.0197 | 22.0248 | 13.5104 | 13.0179 | 15.8586
Central Highlands | 13.4539 | 11.652 | 12.7506 | 16.0005 | 15.5974
South Gippsland | 33.1803 | 30.3243 | 14.8882 | 20.9294 | 15.0684
Goulburn Valley | 10.7698 | 11.259 | 10.7341 | 15.026 | 8.5001
Lower Murray | 11.8923 | 11.7549 | 9.6888 | 8.2907 | 7.1498
Bursts and leaks (per 100km water main)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
GWMWater | 57.3806 | 45.2384 | 41.7206 | 39.9167 | 46.2745
Yarra Valley | 43.8852 | 43.8324 | 28.6147 | 31.2712 | 32.996
South Gippsland | 32.7052 | 24.0591 | 22.173 | 36.5753 | 28.9544
South East | 34.2807 | 29.4621 | 22.1458 | 25.2559 | 25.846
Barwon | 32.3326 | 25.1243 | 21.6162 | 25.0548 | 23.57
Coliban | 25.8135 | 26.3751 | 21.4766 | 23.706 | 23.0501
Lower Murray | 33.3647 | 26.3265 | 19.5719 | 20.402 | 20.9581
Greater Western | 39.885 | 31.0536 | 18.5823 | 18.4932 | 16.8221
Gippsland | 26.8655 | 20.4892 | 19.708 | 18.5234 | 16.4353
Central Highlands | 20.9176 | 19.7227 | 16.7619 | 17.6914 | 16.2747
Westernport | 21.1538 | 8.316 | 10.5198 | 19.808 | 13.4694
East Gippsland | 15.8714 | 15.4442 | 13.3607 | 10.6168 | 11.7214
North East | 11.8976 | 13.6947 | 11.1682 | 11.958 | 11.357
Goulburn Valley | 17.094 | 13.1587 | 13.864 | 13.7337 | 10.1967
Wannon | 5.2115 | 6.1111 | 7.3446 | 8.0219 | 6.9437
Average response time to bursts and leaks - priority one (minutes)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
North East | 2 | 6 | 24.25 | 105.5714 | 102.3333
South East | 33.0117 | 33.239 | 32.8174 | 35.01 | 38.4328
Gippsland | 28.5842 | 26.3288 | 27.5593 | 24.2917 | 37.6027
Central Highlands | 32.0154 | 28.5424 | 28.359 | 35.7955 | 29.5926
Greater Western | 23.9347 | 24.6989 | 25.7525 | 26.0808 | 28.4204
Barwon | 30.3636 | 30.75 | 26.913 | 21.2667 | 28.3889
Wannon | 0 | 0 | 33.75 | 52.5 | 26
Coliban | 24.9412 | 21.6111 | 42.1429 | 24.0476 | 24.6818
Lower Murray | 14.7 | 13 | 18 | 18 | 24
Yarra Valley | 22.4815 | 23.1034 | 24.8095 | 25.2 | 21.8261
GWMWater | 23.2059 | 24.4194 | 26.2667 | 16.9796 | 21.3134
South Gippsland | 17.4533 | 20.9211 | 17.098 | 16.541 | 19.76
East Gippsland | 0 | 12.3333 | 0 | 0 | 0
Goulburn Valley | 0 | 15 | 0 | 0 | 0
Westernport | 2 | 0 | 0 | 1 | 0
Average response time to bursts and leaks - priority two (minutes)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Greater Western | 50.4742 | 51.225 | 107.6985 | 40.2908 | 107.8889
Goulburn Valley | 30.3455 | 25.5542 | 34.5 | 30.2469 | 73.5769
Coliban | 51.449 | 52.4113 | 59.75 | 57.2703 | 68.3966
South East | 58.1111 | 51.3807 | 54.6596 | 58.8005 | 61.3818
East Gippsland | 17.6667 | 14 | 21.25 | 35 | 49
North East | 25.2222 | 29.9 | 20 | 14.1538 | 41.8889
Westernport | 40.4314 | 30.6923 | 34.75 | 64.0571 | 39.1818
Yarra Valley | 35.4038 | 34.1005 | 31.7513 | 32.4627 | 36.4286
Barwon | 45.3614 | 41.1854 | 36.3497 | 35.7584 | 34.8836
Central Highlands | 42.37 | 48.2033 | 58.6735 | 36.3966 | 34.4915
GWMWater | 30.7167 | 31.1429 | 20.6047 | 29.6 | 30.8889
Wannon | 21.1486 | 7.35 | 35.5862 | 30.5833 | 29.7419
South Gippsland | 19.2857 | 15.3529 | 23.45 | 24.2667 | 25.3833
Gippsland | 67 | 55.6667 | 42.5 | 43.875 | 23
Lower Murray | 16.3178 | 17.3913 | 15.9385 | 14.8475 | 15.85
Average time to rectify bursts and leaks - Priority one (minutes)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Barwon | 1347.9455 | 345.0833 | 334.8261 | 1242.6 | 1728.7222
North East | 712 | 392.5 | 583.25 | 13095 | 998.6667
Wannon | 0 | 0 | 452 | 331.5 | 686.3333
South Gippsland | 305.6667 | 221.6842 | 196.1373 | 230.5738 | 594.08
Coliban | 314.8235 | 672.2778 | 253.4286 | 261.0952 | 592.8636
Greater Western | 475.0512 | 401.9937 | 483.8837 | 451.4672 | 458.5032
South East | 284.4098 | 266.3603 | 270.8652 | 289.01 | 302.5421
GWMWater | 315.2941 | 324.871 | 310.1333 | 241.6735 | 296.4925
Central Highlands | 318.0769 | 313.2712 | 323.5128 | 370.1136 | 284
Gippsland | 716.2277 | 1397.5616 | 377.339 | 218.1806 | 259.7671
Yarra Valley | 282.7407 | 221.6207 | 185.2381 | 204.4 | 249.8696
Lower Murray | 198.3 | 245.3333 | 524.6667 | 354.6667 | 189
East Gippsland | 0 | 227.6667 | 0 | 0 | 0
Goulburn Valley | 0 | 571 | 0 | 0 | 0
Westernport | 514 | 0 | 0 | 576 | 0
Average time to rectify bursts and leaks - Priority two (minutes)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Westernport | 1451.1176 | 1746.6154 | 2248.75 | 3583.1429 | 2571.9545
Coliban | 2020.6531 | 1598.8865 | 683.0926 | 1841.1892 | 1581.8276
Barwon | 1117 | 1112.6225 | 1837.6074 | 624.0056 | 1230.5685
Goulburn Valley | 657.0182 | 297.8756 | 698.4375 | 494.2156 | 1121.8462
Greater Western | 725.3609 | 1201.2583 | 755.0992 | 961.988 | 736.3889
East Gippsland | 495.6667 | 346 | 208.25 | 267 | 541.5
Yarra Valley | 485.7497 | 439.0757 | 382.2342 | 428.8164 | 515.02
Central Highlands | 615.27 | 698.626 | 430.7245 | 443.1552 | 424.0847
North East | 170.2222 | 188.1 | 166.875 | 162.0769 | 409.2778
GWMWater | 388.3917 | 450.4881 | 260.7442 | 224.2889 | 388.3069
South East | 292.0397 | 275.2572 | 365.4578 | 304.0268 | 380.1045
Wannon | 323.0236 | 363.85 | 319.7586 | 330.2917 | 312.7419
Lower Murray | 300.9147 | 255.7609 | 180.4923 | 171.7966 | 288.075
South Gippsland | 178.4286 | 161.1765 | 158.8 | 213 | 220.1833
Gippsland | 604.7619 | 361.3333 | 199.3333 | 352 | 109
Unplanned water supply interruptions restored within 5 hours (per cent)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
South Gippsland | 95.614 | 98.8889 | 100 | 100 | 100
Westernport | 100 | 96.8254 | 100 | 97.561 | 100
Lower Murray | 100 | 95.9184 | 100 | 97.973 | 99.3243
East Gippsland | 97.4026 | 95.2381 | 98.6667 | 100 | 98.6111
Coliban | 97.5524 | 99.2366 | 98.3122 | 99.2857 | 98.556
North East | 97.9487 | 96.9163 | 98.3957 | 98.4848 | 98.3333
GWMWater | 95.4306 | 97.9466 | 97.8469 | 99.0196 | 97.8858
Goulburn Valley | 99.0566 | 94.1799 | 95.339 | 95.6 | 97.3404
South East | 97.5466 | 97.0386 | 98.1616 | 98.0175 | 97.3378
Yarra Valley | 97.9181 | 97.6904 | 98.953 | 96.7784 | 97.0834
Gippsland | 98.2968 | 97.1609 | 98.5037 | 98.8796 | 97.0238
Barwon | 96.8867 | 97.3214 | 93.4292 | 95.0083 | 96.2069
Central Highlands | 91.5129 | 94.7917 | 93.8224 | 95.2229 | 95.4976
Greater Western | 97.9323 | 97.0718 | 97.4964 | 96.7391 | 94.0183
Wannon | 97.479 | 97.6471 | 90.991 | 91.411 | 88.1119
Sewer blockages (per 100 kilometres of sewer main)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
GWMWater | 42.9845 | 43.1913 | 50.5224 | 43.8196 | 43.6128
Yarra Valley | 38.3996 | 42.3916 | 32.2956 | 27.5979 | 28.7856
Barwon | 32.2917 | 32.6419 | 29.7452 | 26.799 | 23.5315
Central Highlands | 20.4686 | 18.8092 | 19.722 | 16.6881 | 16.447
Coliban | 20.5282 | 22.2553 | 17.7798 | 20.6829 | 16.1496
Greater Western | 22.7087 | 22.5638 | 19.1642 | 16.9317 | 15.6135
South East | 18.9902 | 20.5489 | 16.5301 | 16.1186 | 14.3464
Lower Murray | 17.3252 | 14.5646 | 17.3275 | 16.9811 | 11.9253
Goulburn Valley | 10.3474 | 13.8218 | 14.9705 | 10.7065 | 10.2158
North East | 10.2942 | 10.6131 | 10.6149 | 9.7256 | 9.3798
South Gippsland | 21.9368 | 18.4878 | 16.9751 | 8.9524 | 7.8652
Wannon | 12.0648 | 9.1543 | 8.1097 | 5.2415 | 7.0159
Westernport | 6.383 | 3.6288 | 5.3832 | 7.6316 | 4.534
Gippsland | 7.7753 | 6.8888 | 1.5008 | 3.6704 | 4.1916
East Gippsland | 6.8917 | 7.7869 | 7.0748 | 5.4054 | 3.6233
Sewer spills from reticulation and branch sewers (per 100 kilometres of sewer main)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Coliban | 18.4602 | 23.1992 | 18.8141 | 22.0488 | 17.2583
Yarra Valley | 15.1008 | 27.4263 | 20.8972 | 17.0364 | 16.57
GWMWater | 14.0886 | 14.6362 | 21.4684 | 18.1273 | 15.8976
Barwon | 16.9643 | 17.0306 | 15.9311 | 14.7465 | 13.5315
Wannon | 11.4298 | 5.4716 | 6.4462 | 6.9887 | 7.6173
Central Highlands | 5.6513 | 7.1719 | 9.6625 | 7.732 | 7.4074
South East | 10.2215 | 10.6928 | 8.1894 | 7.7597 | 6.3487
South Gippsland | 5.9289 | 6.2937 | 5.787 | 2.8571 | 5.4307
Greater Western | 4.8686 | 4.5557 | 4.1912 | 4.8688 | 5.1488
East Gippsland | 8.8608 | 8.4699 | 8.5714 | 6.3514 | 5.0994
North East | 6.2909 | 4.2939 | 4.3896 | 4.4706 | 5.0743
Westernport | 2.3936 | 1.0368 | 1.7944 | 3.0527 | 4.2821
Lower Murray | 3.0395 | 2.4024 | 3.8179 | 3.193 | 3.592
Gippsland | 4.4268 | 3.8396 | 1.0561 | 2.4104 | 3.0484
Goulburn Valley | 2.0393 | 2.9138 | 3.2448 | 1.311 | 2.1583
Containment of sewer spills within 5 hours (per cent)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Coliban | 100 | 99.7859 | 100 | 100 | 100
Lower Murray | 100 | 100 | 100 | 100 | 100
South Gippsland | 100 | 93.75 | 100 | 100 | 100
Yarra Valley | 96.9615 | 98.9732 | 99.8096 | 99.7103 | 99.7648
Barwon | 100 | 99.5726 | 98.4234 | 98.5577 | 99.4832
Greater Western | 99.3007 | 99.6377 | 99.2366 | 100 | 99.41
South East | 99.8992 | 99.8092 | 99.7537 | 99.8713 | 99.0669
Gippsland | 100 | 100 | 100 | 97.7273 | 98.2143
East Gippsland | 98.4127 | 100 | 100 | 100 | 97.3684
Wannon | 96.2963 | 100 | 95.1613 | 98.5294 | 97.3684
Central Highlands | 93.9024 | 97.1698 | 96.5753 | 98.3333 | 95.7627
Westernport | 100 | 100 | 100 | 100 | 94.1176
GWMWater | 98.9796 | 99.0196 | 100 | 100 | 93.8053
Goulburn Valley | 100 | 97.4359 | 95.4545 | 100 | 90
North East | 96.1039 | 100 | 98.1818 | 91.2281 | 81.8182
Sewer spills to customer property (per 100 customers)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Coliban | 0.266 | 0.36184 | 0.35817 | 0.28727 | 0.23289
GWMWater | 0.13439 | 0.13014 | 0.19019 | 0.12928 | 0.1708
Wannon | 0.1377 | 0.05091 | 0.068907 | 0.091741 | 0.15314
East Gippsland | 0.1344 | 0.11383 | 0.15069 | 0.12463 | 0.10407
Yarra Valley | 0.11752 | 0.21725 | 0.14974 | 0.10715 | 0.10383
Barwon | 0.15382 | 0.15357 | 0.1269 | 0.11203 | 0.092178
Westernport | 0.038717 | 0.031658 | 0.012293 | 0.041881 | 0.065154
South Gippsland | 0.076683 | 0.086407 | 0.095405 | 0.051867 | 0.045867
Central Highlands | 0.034338 | 0.060824 | 0.10278 | 0.05742 | 0.045562
South East | 0.073321 | 0.076319 | 0.058146 | 0.062885 | 0.043153
North East | 0.086995 | 0.09404 | 0.077434 | 0.040055 | 0.035511
Greater Western | 0.020877 | 0.022687 | 0.021829 | 0.024492 | 0.029538
Lower Murray | 0.030393 | 0.013392 | 0.029688 | 0.02607 | 0.025972
Gippsland | 0.037736 | 0.038724 | 0.013596 | 0.016354 | 0.019092
Goulburn Valley | 0.020956 | 0.033831 | 0.042503 | 0.010905 | 0.012538
Note on H70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Coliban 2020-21 value is 0, however it appears as #N/A due to attempting to divide the number 0.

## 6. Drinking water quality
Essential Services Commission
2022-23 Water Performance Report
Data - How safe is our drinking water?
Water quality complaints – all causes (per 100 customers)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Goulburn Valley | 0.28908 | 0.29695 | 0.27734 | 0.24895 | 0.5118
North East | 0.21956 | 0.46673 | 0.3179 | 0.31091 | 0.50296
Yarra Valley | 0.49542 | 0.50339 | 0.46876 | 0.35508 | 0.34011
Coliban | 0.35174 | 0.27667 | 0.28451 | 0.22604 | 0.31287
Wannon | 0.35102 | 0.29585 | 0.46767 | 0.24525 | 0.29881
Gippsland | 0.26937 | 0.18899 | 0.19554 | 0.14974 | 0.29473
South East | 0.24434 | 0.20642 | 0.24194 | 0.2454 | 0.29001
Lower Murray | 0.16451 | 0.099094 | 0.080497 | 0.076768 | 0.22387
Greater Western | 0.12658 | 0.16165 | 0.21797 | 0.1958 | 0.20175
East Gippsland | 0.23624 | 0.26996 | 0.19309 | 0.20576 | 0.14868
GWMWater | 0.2285 | 0.27767 | 0.27017 | 0.14846 | 0.14169
South Gippsland | 0.41079 | 0.28154 | 0.35662 | 0.2475 | 0.12667
Barwon | 0.10761 | 0.11881 | 0.14172 | 0.11518 | 0.11708
Westernport | 0.21831 | 0.081131 | 0.93474 | 0.25346 | 0.11452
Central Highlands | 0.16748 | 0.11507 | 0.094101 | 0.11526 | 0.10617
Water quality complaints - by cause (percent of quality complaints)
| Colour | Taste/odour | Other
Greater Western | 80.6763 | 14.7343 | 4.5894
South East | 82.3849 | 10.1674 | 7.4477
Yarra Valley | 82.1405 | 14.2809 | 3.5786
Barwon | 47.3684 | 29.6651 | 22.9665
Central Highlands | 77.1084 | 18.0723 | 4.8193
Coliban | 35.5731 | 57.3123 | 7.1146
East Gippsland | 34.2105 | 26.3158 | 39.4737
Gippsland | 35.8744 | 52.9148 | 11.2108
Goulburn Valley | 77.709 | 16.0991 | 6.192
GWMWater | 76.087 | 19.5652 | 4.3478
Lower Murray | 65.8228 | 24.0506 | 10.1266
North East | 78.0576 | 19.0647 | 2.8777
South Gippsland | 32.1429 | 46.4286 | 21.4286
Wannon | 36.5672 | 45.5224 | 17.9104
Westernport | 47.619 | 47.619 | 4.7619
Microbiological water quality (per cent of customers receiving drinking water meeting E. coli requirements)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Greater Western | 99.955 | 100 | 100 | 100 | 100
South East | 100 | 100 | 99.99 | 100 | 99.97
Yarra Valley | 100 | 100 | 100 | 100 | 100
Barwon | 100 | 100 | 100 | 100 | 100
Central Highlands | 100 | 100 | 99.8 | 100 | 99.7
Coliban | 100 | 94.3 | 100 | 100 | 95
East Gippsland | 100 | 100 | 100 | 94.26 | 100
Gippsland | 100 | 100 | 99.7 | 100 | 100
Goulburn Valley | 100 | 100 | 99.11 | 100 | 100
GWMWater | 100 | 100 | 100 | 97 | 100
Lower Murray | 100 | 100 | 100 | 100 | 100
North East | 100 | 100 | 100 | 100 | 100
South Gippsland | 99.04 | 100 | 100 | 100 | 100
Wannon | 100 | 100 | 100 | 100 | 100
Westernport | 100 | 100 | 100 | 100 | 100
Turbidity (per cent of customers receiving drinking water meeting turbidity requirements)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Greater Western | 100 | 100 | 100 | 100 | 100
South East | 100 | 100 | 100 | 100 | 100
Yarra Valley | 100 | 100 | 100 | 100 | 100
Barwon | 100 | 100 | 100 | 100 | 100
Central Highlands | 100 | 100 | 100 | 100 | 100
Coliban | 100 | 100 | 100 | 100 | 100
East Gippsland | 100 | 100 | 100 | 100 | 100
Gippsland | 100 | 92.5 | 100 | 100 | 100
Goulburn Valley | 100 | 100 | 100 | 100 | 100
GWMWater | 100 | 100 | 100 | 100 | 100
Lower Murray | 100 | 100 | 100 | 100 | 100
North East | 100 | 100 | 100 | 100 | 100
South Gippsland | 100 | 100 | 100 | 100 | 100
Wannon | 100 | 100 | 100 | 100 | 100
Westernport | 100 | 100 | 100 | 100 | 100

## 7. Environmental
Essential Services Commission
2022-23 Water Performance Report
Data - How are water businesses managing their environmental impacts?
Volume of effluent reused (megalitres)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Melbourne Water | 48624 | 36529.7 | 40930 | 38837 | 36501
Greater Western | 9025 | 7233.46 | 8048.947 | 6146.236 | 6025.45
South East | 4785.75 | 3472.8 | 3140.2 | 3424.7 | 2967.4283
Yarra Valley | 3720.784 | 3666.0405 | 3838.411 | 3323.599 | 2693.949
Barwon | 5997.7174 | 4683.0406 | 3951.4863 | 3265.9941 | 3648.1847
Central Highlands | 1680.2454 | 1625.6 | 1958.5082 | 1945.5613 | 1645.4645
Coliban | 3261.4 | 2564 | 3229 | 2148.9 | 1918.8
East Gippsland | 2496.2216 | 2437.5808 | 2968.8274 | 3139.31 | 2871.7704
Gippsland | 2054.4363 | 1968.8569 | 2127.8126 | 2049.4003 | 2183.9456
Goulburn Valley | 7821.29 | 7401.44 | 6953.45 | 6546.75 | 4255.55
GWMWater | 2568.62 | 2509.354 | 2697.672 | 3132.542 | 2845.2798
Lower Murray | 3110.337 | 3227.753 | 2659.002 | 2759.394 | 2768.73
North East | 2810.58 | 2487.775 | 2515.63 | 2355.78 | 1748.11
South Gippsland | 124 | 121.959 | 193.63 | 189.4536 | 115.551
Wannon | 1915.3612 | 1773.1 | 1634.9157 | 1867.8328 | 1826.9131
Westernport | 340.435 | 220.992 | 125.45 | 303.183 | 348.037
Proportion of effluent reused (per cent)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
East Gippsland | 100 | 100 | 100 | 82.4736 | 81.3815
GWMWater | 76.3769 | 102.3315 | 98.9456 | 97.5981 | 75.6164
Lower Murray | 53.8178 | 56.2876 | 46.4089 | 45.7692 | 42.6743
Greater Western | 61.9067 | 50.7239 | 45.8581 | 36.6049 | 34.2906
Goulburn Valley | 96.8171 | 87.6504 | 78.313 | 65.6829 | 32.6731
Yarra Valley | 33.6069 | 31.5882 | 31.8114 | 29.8717 | 22.4684
South East | 34.7433 | 22.6132 | 20.9703 | 25.3744 | 20.17
Westernport | 23.6404 | 13.0851 | 7.4413 | 17.8788 | 18.157
Coliban | 36.8108 | 27.2795 | 30.2115 | 20.544 | 17.7512
North East | 35.3328 | 30.7413 | 29.7962 | 22.1649 | 14.6925
Wannon | 18.6777 | 17.8072 | 15.6198 | 16.9645 | 13.6112
Barwon | 21.093 | 15.2015 | 12.5234 | 10.2413 | 10.9175
Central Highlands | 15.0672 | 13.4336 | 16.556 | 15.0089 | 10.2402
Melbourne Water | 15.9157 | 10.6258 | 11.9714 | 11.0937 | 9.4995
Gippsland | 8.4303 | 7.2069 | 7.9189 | 7.4209 | 8.3319
South Gippsland | 3.2569 | 2.6166 | 4.4496 | 4.2102 | 2.5024
Proportion of biosolids reused (per cent)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Melbourne Water | 370.8497 | 114.5467 | 50.285 | 92.6692 | 48.048
Greater Western | 70.6477 | 66.4747 | 106.6796 | 91.3721 | 84.3551
South East | 84.7515 | 161.1402 | 36.5789 | 83.9944 | 0
Yarra Valley | 0 | 0
Barwon | 100 | 100 | 100 | 100 | 100
Central Highlands | 100 | 32.8209 | 32.1381 | 246.8653 | 0
Coliban | 53.7152 | 59.4068 | 90.479 | 80.0611 | 65.5349
East Gippsland | 0 | 0 | 0
Gippsland | 100 | 100 | 100 | 87.7805 | 84.77
Goulburn Valley | 0 | 46.5847 | 0 | 126.1504 | 210.806
GWMWater |  |  |  |  | 0
Lower Murray | 0 | 0 | 236.1181 | 0 | 0
North East | 0 | 0 | 0 | 6.6997 | 32.6053
South Gippsland | 68.9394 | 355.1504 | 121.4286 | 43.5826 | 99.7472
Wannon | 98.5406 | 231.9218 | 100.8441 | 107.4133 | 0
Westernport | 0 | 0 | 0 | 0 | 0
Historic net greenhouse gas emissions (equivalent tonnes of CO2)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Melbourne Water | 431455.1467 | 513651.4246 | 468966.0458 | 466284.9026 | 449580.5837
Greater Western | 49352 | 51237 | 44908 | 39411 | 34440
South East | 38264 | 32006 | 35856.3 | 28576.5 | 27871
Yarra Valley | 0 | 0 | 0 | 0 | 15910
Barwon | 43237.8195 | 44258.9332 | 30083 | 28166 | 23537.8693
Central Highlands | 17381 | 14976 | 13556.34 | 15484 | 14117
Coliban | 33856.74 | 29938 | 26942 | 27053.6 | 20904
East Gippsland | 8872.26 | 8334 | 7636 | 7825 | 7446.9
Gippsland | 43725 | 34750 | 35385 | 35276 | 33014
Goulburn Valley | 64229 | 77754 | 71742.29 | 34572 | 30955
GWMWater | 17951.812 | 15168.8 | 14155.1 | 15590.92 | 12264.4
Lower Murray | 20206.98 | 18837.9 | 17869.98 | 19348 | 14613
North East | 33905 | 32613.5 | 32197 | 31607 | 30935
South Gippsland | 9224 | 8874.69 | 8340 | 7580.6642 | 7265
Wannon | 30490 | 26656 | 23887 | 29687 | 21062
Westernport | 6920 | 6458.7 | 6703.7 | 5973.7 | 6610.18
Sources of greenhouse gas emissions (equivalent tonnes of CO2) 2021-22
| Water | Sewerage | Transport | Other | Offsets
Melbourne Water | 41843.8576 | 403227.5495 | 1774.2461 | 2734.9305 | 0
Greater Western | 10197 | 26377 | 964 | 1042 | 4140
South East | 4636 | 34146 | 1518 | 1171 | 13600
Yarra Valley | 8239 | 6645 | 893 | 133 | 0
Barwon | 2872.3911 | 19129.1494 | 1036.3084 | 500.0204 | 0
Central Highlands | 1705 | 11149 | 635 | 628 | 0
Coliban | 3929 | 15609 | 931 | 435 | 0
East Gippsland | 2147.6 | 4866 | 340.2 | 93.1 | 0
Gippsland | 8305 | 20629 | 1190 | 2890 | 0
Goulburn Valley | 9523 | 20030 | 1300 | 102 | 0
GWMWater | 8314.7 | 4546.1 | 887.8 | 367.5 | 1851.7
Lower Murray | 6095 | 7996 | 342 | 180 | 0
North East | 6886 | 23020 | 807 | 222 | 0
South Gippsland | 1861 | 4660 | 608 | 136 | 0
Wannon | 8041 | 13819 | 650 | 439 | 1887
Westernport | 1148 | 5127.18 | 219 | 116 | 0
Total | 125743.5487 | 620975.9789 | 14095.5545 | 11189.5508 | 4561
% | 16.29% | 80.44% | 1.826% | 1.449% | -
Sewerage treatment plant volume treated - Primary (megalitres)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Melbourne Water | 0 | 0 | 0 | 0 | 0
Greater Western | 0 | 0 | 0 | 0 | 0
South East | 0 | 0 | 0 | 0 | 0
Yarra Valley | 0 | 0 | 0 | 0 | 0
Barwon | 0 | 0 | 0 | 0 | 0
Central Highlands | 0 | 0 | 0 | 0 | 0
Coliban | 0 | 0 | 0 | 0 | 0
East Gippsland | 0 | 0 | 0 | 0 | 0
Gippsland | 9588.6 | 10607 | 9140.9 | 9404.9 | 8560
Goulburn Valley | 0 | 0 | 0 | 0 | 0
GWMWater | 0 | 0 | 0 | 0 | 0
Lower Murray | 0 | 0 | 0 | 0 | 0
North East | 0 | 0 | 0 | 0 | 0
South Gippsland | 0 | 0 | 0 | 0 | 0
Wannon | 0 | 0 | 0 | 0 | 0
Westernport | 0 | 0 | 0 | 0 | 0
Sewerage treatment plant volume treated - Secondary (megalitres)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Melbourne Water | 187598 | 201726 | 198569 | 204184 | 220680
Greater Western | 7132.8 | 7791.132 | 8075.897 | 8528.19 | 9141
South East | 855 | 985.6 | 986 | 995.7 | 725
Yarra Valley | 0 | 0 | 0 | 0 | 0
Barwon | 25725 | 29192 | 30289 | 30751.67 | 32765.04
Central Highlands | 1535 | 1668.69 | 1638.54 | 1775.27 | 2236.4775
Coliban | 2183 | 2023 | 2128 | 2229 | 2728.63
East Gippsland | 1586.197 | 1584.198 | 1915.57 | 2326.64 | 2135.434
Gippsland | 12657.526 | 13387.0702 | 13651.8818 | 14609.463 | 13479
Goulburn Valley | 13531.88 | 14800.51 | 13181.01 | 11593.25 | 9731.4
GWMWater | 3413.6 | 3464 | 3690.9 | 4126 | 4530
Lower Murray | 3452 | 3336 | 3291 | 3681 | 3946
North East | 5165.34 | 5188.82 | 5535.41 | 6197.93 | 6789.69
South Gippsland | 1886.62 | 2199.5 | 2158.6 | 2200.1531 | 2389.7
Wannon | 10910 | 11222 | 11690 | 11805 | 13422.1
Westernport | 1440.053 | 1657.514 | 1666 | 1689.917 | 1922.461
Sewerage treatment plant volume treated - Tertiary (megalitres)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Melbourne Water | 127048 | 145277 | 142786 | 145807 | 163245
Greater Western | 9020.5 | 9146 | 9397 | 8763 | 10189.1
South East | 11822 | 12835.7 | 13099.9 | 11020.4 | 12331.3
Yarra Valley | 10591.7779 | 12614.089 | 13213.622 | 12432.388 | 14061
Barwon | 2553 | 2421 | 2302 | 2592.27 | 2606.52
Central Highlands | 9576 | 10461 | 11125.93 | 11525.5 | 14172.211
Coliban | 10026 | 10410 | 10896 | 11246 | 13504.57
East Gippsland | 1269.9205 | 1188.561 | 1355.2799 | 1479.8 | 1393.3432
Gippsland | 5124.927 | 6443.0823 | 5799.952 | 6103.842 | 6857
Goulburn Valley | 234.73 | 431.21 | 1436.49 | 2841.83 | 5722.29
GWMWater | 349 | 366 | 360.1 | 366 | 436
Lower Murray | 2327 | 2398.03 | 2438 | 2348 | 2542
North East | 4177.58 | 4334.39 | 4467.24 | 5081.26 | 5760.19
South Gippsland | 1217.9 | 1435.6 | 1278.2 | 1283.3162 | 1315.2
Wannon | 6 | 6 | 2 | 1 | 1.7
Westernport | 0 | 0 | 0 | 0 | 0
Sewerage treatment plant volume treated - Total (megalitres)
| 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
Melbourne Water | 314646 | 347003 | 341355 | 349991 | 383925
Greater Western | 16153.3 | 16937.132 | 17472.897 | 17291.19 | 19330.1
South East | 12677 | 13821.3 | 14085.9 | 12016.1 | 13056.3
Yarra Valley | 10591.7779 | 12614.089 | 13213.622 | 12432.388 | 14061
Barwon | 28278 | 31613 | 32591 | 33343.94 | 35371.56
Central Highlands | 11111 | 12129.69 | 12764.47 | 13300.77 | 16408.6885
Coliban | 12209 | 12433 | 13024 | 13475 | 16233.2
East Gippsland | 2856.1175 | 2772.759 | 3270.8499 | 3806.44 | 3528.7772
Gippsland | 27371.053 | 30437.1525 | 28592.7337 | 30118.205 | 28896
Goulburn Valley | 13766.61 | 15231.72 | 14617.5 | 14435.08 | 15453.69
GWMWater | 3762.6 | 3830 | 4051 | 4492 | 4966
Lower Murray | 5779 | 5734.03 | 5729 | 6029 | 6488
North East | 9342.92 | 9523.21 | 10002.65 | 11279.19 | 12549.88
South Gippsland | 3104.52 | 3635.1 | 3436.8 | 3483.4693 | 3704.9
Wannon | 10916 | 11228 | 11692 | 11806 | 13423.8
Westernport | 1440.053 | 1657.514 | 1666 | 1689.917 | 1922.461
Volume of effluent recycle by use (ML)
| Volume supplied to retailers (ML) | Domestic/ residential (ML) | Municipal (ML) | Commercial (ML) | Industrial (ML) | Agricultural uses (ML) | Beneficial allocation (ML) | Within process (ML) | Total reuse
Melbourne Water | 8794 | 0 | 0 | 35 | 0 | 9093 | 10095 | 8484 | 36501
Greater Western | 0 | 431.799 | 107.07 | 519.26 | 1141.58 | 2931.43 | 0 | 511.24 | 5642.379
South East | 0 | 237.8 | 0 | 210.5 | 196.3 | 983.96 | 0 | 1338.67 | 2967.23
Yarra Valley | 0 | 410.603 | 193.323 | 30.219 | 0 | 321.904 | 0 | 1736.594 | 2692.643
Barwon | 0 | 391.665 | 65.2926 | 465.873 | 2287.838 | 235.0148 | 0 | 202.5013 | 3648.1847
Central Highlands | 0 | 0 | 373.162 | 21.632 | 0 | 723.7425 | 0 | 526.928 | 1645.4645
Coliban | 0 | 0 | 188.69 | 0 | 452.51 | 1277.6 | 0 | 0 | 1918.8
East Gippsland | 0 | 0 | 0 | 57.5181 | 0 | 1442.0448 | 1372.2075 | 0 | 2871.7704
Gippsland | 0 | 0 | 0 | 79.1402 | 0 | 1310.0659 | 747.7626 | 46.977 | 2183.9456
Goulburn Valley | 0 | 213.33 | 199.8 | 0 | 0 | 3699.42 | 143 | 0 | 4255.55
GWMWater | 0 | 0 | 77.14 | 373 | 0 | 2385.06 | 0 | 9.3 | 2844.5
Lower Murray | 0 | 0 | 0 | 0 | 0 | 2769 | 0 | 0 | 2769
North East | 0 | 0 | 3.5 | 112.41 | 0 | 1455.29 | 0 | 176.9 | 1748.1
South Gippsland | 0 | 0 | 5.842 | 0 | 0 | 109.669 | 0 | 0 | 115.511
Wannon | 0 | 0 | 0 | 0 | 106.3391 | 1607.174 | 113.4 | 0 | 1826.9131
Westernport | 0 | 18.125 | 2.521 | 39.471 | 0 | 274.158 | 0 | 13.761 | 348.036
Total | 8794 | 1703.322 | 1216.3406 | 1944.0233 | 4184.5671 | 30618.533 | 12471.3701 | 13046.8713 | 73979.0273
% | 11.89% | 2.302% | 1.644% | 2.628% | 5.656% | 41.39% | 16.86% | 17.64% | -