## 1. Introduction
Essential Services Commission
2017-18 Water Performance Report
Data - Introduction
This data summary contains the information behind the tables and figures in our 2017-18 water performance report.
Each tab aligns with a chapter in our report, and provides the 2017-18 data along with the preceding four years.
You will find some data for performance indicators not discussed in our report. In earlier annual reports, we used to comment on these indicators but now we only
provide the ongoing data for any interested parties.
You can read our full suite of 2017-18 performance information on our website: |  | www.esc.vic.gov.au/water/water-sector-performance-and-reporting/water-performance-reports
Our four documents cover:
· our annual report comparing the performance of the 16 urban water businesses
· our supplement discussing how water businesses are tracking on major project delivery
· water business profiles that provide a snapshot of each business’s performance
· this summary of the data behind our tables and charts in this report.

## 2. Victorian water industry
Essential Services Commission
2017-18 Water Performance Report
Data - The Victorian water industry |  |  |  | Period: | 2018
Water customers (no.) | [5 empty] | Sewerage customers (no.)
| 2014 | 2015 | 2016 | 2017
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 |  | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
City West | 403185 | 414224 | 429233 | 444681 | 459044 | City West | 399764 | 410794 | 425764 | 441214 | 455602
South East | 695741 | 708747 | 727106 | 743040 | 762245 | South East | 664221 | 678117 | 697973 | 714354 | 734766
Yarra Valley | 737437 | 751930 | 765287 | 783886 | 802130 | Yarra Valley | 694001 | 709048 | 722699 | 726808 | 745096
Barwon | 145600 | 148214 | 151418 | 154266 | 158109 | Barwon | 130618 | 132877 | 135561 | 137852 | 141376
Central Highlands | 65188 | 66192 | 67022 | 68251 | 69565 | Central Highlands | 55399 | 56486 | 57448 | 58830 | 59932
Coliban | 70893 | 72117 | 73228 | 74163 | 75238 | Coliban | 63743 | 65038 | 66088 | 67055 | 67996
East Gippsland | 22565 | 22865 | 23157 | 23460 | 23760 | East Gippsland | 18853 | 19095 | 19356 | 19599 | 19832
Gippsland | 65973 | 66877 | 67930 | 68772 | 69788 | Gippsland | 57203 | 58395 | 60311 | 61492 | 62469
Goulburn Valley | 55855 | 56537 | 57236 | 57873 | 58662 | Goulburn Valley | 49062 | 49682 | 50348 | 50940 | 51667
GWMWater | 31295 | 31445 | 31613 | 31728 | 31826 | GWMWater | 25285 | 25416 | 25565 | 25755 | 25833
Lower Murray | 32581 | 32942 | 33244 | 33395 | 33719 | Lower Murray | 28084 | 28519 | 28691 | 28980 | 29295
North East | 48285 | 49114 | 49576 | 50273 | 51094 | North East | 43074 | 44006 | 44780 | 45517 | 46323
South Gippsland | 19400 | 19637 | 19829 | 20048 | 20372 | South Gippsland | 16613 | 16967 | 17181 | 17725 | 17954
Wannon | 42008 | 42261 | 42466 | 42766 | 43070 | Wannon | 35419 | 35839 | 36146 | 36492 | 36816
Western | 56930 | 58477 | 60158 | 62234 | 64981 | Western | 51004 | 52564 | 54197 | 56264 | 58966
Westernport | 15726 | 15708 | 15972 | 16320 | 16529 | Westernport | 14372 | 14213 | 14439 | 14753 | 15046
Length of water mains (km) | [5 empty] | Length of sewer mains (km)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 |  | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
City West | 4745.98 | 4825.9 | 4939.23 | 5068 | 5203.48 | City West | 4117.81 | 4164.31 | 4239.11 | 4309 | 4394.65
South East | 9432 | 9606 | 9773.06 | 9961.39 | 10155 | South East | 8761 | 9052 | 9249.9 | 9423.3 | 9583
Yarra Valley | 9881.51 | 9983.5 | 10094.09 | 10227.6 | 10395.61 | Yarra Valley | 9309.6 | 9390.05 | 9470.96 | 9519.5 | 9700
Barwon | 3902.66 | 4030.93 | 4095.96 | 4151 | 4241 | Barwon | 2458.74 | 2483.35 | 2546 | 2578 | 2639
Central Highlands | 2477.6 | 2510.7 | 2523 | 2541 | 2554.643 | Central Highlands | 1358.3 | 1377 | 1393 | 1412 | 1432
Coliban | 2203.46 | 2220 | 2237.36 | 2254.3 | 2269.1 | Coliban | 1859 | 1885 | 1915 | 1938 | 1955.78
East Gippsland | 928 | 933.41 | 938 | 940.7 | 953 | East Gippsland | 683.63 | 685.96 | 691 | 696.98 | 707
Gippsland | 2096 | 2104.981 | 2125.16 | 2131.42 | 2143.112 | Gippsland | 1622 | 1660 | 1715.78 | 1726 | 1729
Goulburn Valley | 1807 | 1819 | 1825.7 | 1834 | 1850 | Goulburn Valley | 1248 | 1261 | 1271 | 1293 | 1307
GWMWater | 1094.47 | 1234.74 | 1238.8 | 1276 | 1255 | GWMWater | 669.98 | 679.9 | 681.3 | 686.3 | 693.5
Lower Murray | 906.64 | 914.9 | 920.5 | 961.9 | 966.11 | Lower Murray | 632.84 | 636.3 | 639.9 | 647 | 652.823
North East | 1716.21 | 1737 | 1595.371 | 1607 | 1627.8 | North East | 1167 | 1172 | 1188.5 | 1204 | 1209.42
South Gippsland | 699 | 704 | 705 | 706 | 712 | South Gippsland | 427 | 440 | 478 | 480 | 500
Wannon | 1881.916 | 1881.66 | 1960 | 1970 | 1973 | Wannon | 909.701 | 918.86 | 929.9 | 936.61 | 941
Western | 2054.526 | 1924 | 1961 | 2019.5 | 2123 | Western | 1204.997 | 1231 | 1257 | 1284.5 | 1350.4
Westernport | 473.81 | 447.6 | 450.52 | 455.35 | 458.91 | Westernport | 351.7 | 355.8 | 357.3 | 362.97 | 368.33

## 3. Water use and bill payment
Essential Services Commission
2017-18 Water Performance Report
Data - How much are households using and paying for water?
Average annual household consumption (kilolitres per household)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Lower Murray | 450.4313 | 474.7861 | 503.7232 | 434.2515 | 492.2644
Goulburn Valley | 265.6133 | 265.0334 | 287.3968 | 241.7271 | 263.6214
GWMWater | 225.7087 | 236.38 | 254.2529 | 209.595 | 235.6045
North East | 205.9074 | 196.7971 | 213.5929 | 198.0684 | 208.3759
Coliban | 190.3274 | 191.6186 | 210.4542 | 185.046 | 200.3951
Western | 181.574 | 177.5055 | 193.1583 | 179.0318 | 184.142
Gippsland | 170.8972 | 163.6003 | 170.4254 | 166.0686 | 167.8111
Barwon | 150.847 | 156.3798 | 169.8664 | 157.5412 | 162.6841
East Gippsland | 150.5512 | 139.955 | 146.1068 | 147.7732 | 157.4221
Central Highlands | 149.7896 | 149.078 | 163.3464 | 149.6004 | 156.9939
Yarra Valley | 152.8651 | 149.519 | 155.6654 | 147.5764 | 150.6001
South East | 149.0208 | 148.5388 | 154.4759 | 149.57 | 150.2915
Wannon | 140.4613 | 144.2039 | 152.9353 | 135.9723 | 144.0694
City West | 145.0742 | 148.4326 | 149.7787 | 147.2194 | 141.6728
South Gippsland | 117.9914 | 115.9359 | 124.7148 | 120.192 | 118.4655
Westernport | 80.304 | 80.2566 | 77.1655 | 83.7273 | 83.6293
Owner occupiers — average household bill breakdown ($, nominal)
| Water Fixed | Water Variable | Sewer Fixed | Sewer Variable | Total
City West Water | 231.2 | 247.3 | 256.56 | 196.3 | 931.36
South East Water | 121.08 | 301.1 | 384.48 | 211.54 | 1018.2
Yarra Valley Water | 177.87 | 302.24 | 356.81 | 226.6 | 1063.52
Barwon Water | 171.7 | 288.23 | 553.07 | 0 | 1013
Central Highlands Water | 195.13 | 296.64 | 756.4 | 0 | 1248.17
Coliban Water | 228.5 | 451.08 | 686.64 | 0 | 1366.22
East Gippsland Water | 216.66 | 314.37 | 660.23 | 0 | 1191.26
* Gippsland Water | 175.89 | 305.7 | 808.03 | 0 | 1289.62
Goulburn Valley Water | 170.87 | 310.49 | 443.77 | 0 | 925.13
GWMWater | 466.52 | 414.75 | 493.08 | 0 | 1374.35
Lower Murray Water | 203.2 | 286.65 | 479.68 | 0 | 969.53
North East Water | 202.34 | 455.98 | 233.63 | 0 | 891.95
South Gippsland Water | 300.69 | 211.6 | 466.06 | 0 | 978.35
Wannon Water | 165.05 | 198.4 | 734.36 | 0 | 1097.81
Western Water | 229.9 | 251.88 | 530.64 | 0 | 1012.42
Westernport Water | 387.99 | 137.27 | 599.22 | 0 | 1124.48
Owner occupiers — average household bills ($, nominal)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
City West | 1000 | 904 | 944 | 933 | 931.36
South East | 1072 | 972 | 1021 | 998 | 1018.2
Yarra Valley | 1154 | 1031 | 1082 | 1033 | 1063.52
Barwon | 1055 | 1029 | 1027 | 986 | 1013
Central Highlands | 1218 | 1185 | 1225 | 1212 | 1248.17
Coliban | 1234 | 1286 | 1342 | 1305 | 1366.22
East Gippsland | 1116 | 1102 | 1132 | 1143 | 1191.26
Gippsland | 1242 | 1229 | 1249 | 1258 | 1289.62
Goulburn Valley | 869 | 891 | 925 | 883 | 925.13
GWMWater | 1262 | 1316 | 1359 | 1301 | 1374.35
Lower Murray | 872 | 921 | 959 | 906 | 969.53
North East | 911 | 843 | 885 | 859 | 891.95
South Gippsland | 992 | 957 | 971 | 962 | 978.35
Wannon | 1140 | 1101 | 1121 | 1069 | 1097.81
Western | 1026 | 964 | 1037 | 943 | 1012.42
Westernport | 1064 | 1072 | 1079 | 1101 | 1124.48
Tenants — average household bills ($, nominal)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
City West | 532 | 439 | 463 | 451.64 | 443.6
South East | 580 | 483 | 517 | 499.89 | 512.63
Yarra Valley | 635 | 516 | 556 | 506.42 | 528.88
Barwon | 337 | 302 | 303 | 265.2 | 288.23
Central Highlands | 273 | 267 | 298 | 276.57 | 296.64
Coliban | 408 | 415.1 | 458 | 408.57 | 451.08
East Gippsland | 282 | 245 | 266 | 280 | 314.37
Gippsland | 325 | 311 | 324 | 320.61 | 331.7
Goulburn Valley | 290 | 297 | 326 | 278.71 | 310.49
GWMWater | 368 | 396 | 431 | 361.39 | 414.75
Lower Murray | 246 | 275 | 302 | 239.29 | 286.65
North East | 487 | 418 | 458 | 429.66 | 455.98
South Gippsland | 196 | 198 | 217 | 210.71 | 211.6
Wannon | 253 | 197 | 215 | 178.31 | 198.4
Western | 283 | 190 | 236 | 222.89 | 251.88
Westernport | 148 | 129 | 125 | 134.49 | 137.27
Residential customers with instalment plans (per 100 customers)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Western | - | - | - | 12.0319 | 12.1046
Gippsland | - | - | - | 10.9838 | 11.9148
GWMWater | - | - | - | 12.7316 | 11.8061
City West | - | - | - | 6.6991 | 7.4034
Wannon | - | - | - | 6.8055 | 7.2253
Coliban | - | - | - | 6.5262 | 6.8257
Yarra Valley | - | - | - | 6.0029 | 6.2111
Goulburn Valley | - | - | - | 6.0412 | 6.1799
North East | - | - | - | 5.289 | 5.8001
Central Highlands | - | - | - | 7.2444 | 5.6083
South East | - | - | - | 4.5305 | 4.5051
South Gippsland | - | - | - | 3.0996 | 3.5511
Westernport | - | - | - | 3.336 | 3.1514
Barwon | - | - | - | 3.4345 | 2.6582
East Gippsland | - | - | - | 2.7355 | 1.8489
Lower Murray | - | - | - | 3.7324 | 1.1319
From 2016-17, changed performance indicator definition
Non-residential customers with instalment plans (per 100 customers)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Gippsland | - | - | - | 4.8039 | 3.8487
Westernport | - | - | - | 2.0147 | 2.0115
City West | - | - | - | 1.2043 | 1.9043
GWMWater | - | - | - | 2.0456 | 1.7098
Wannon | - | - | - | 1.497 | 1.5418
South Gippsland | - | - | - | 1.4173 | 1.2837
Coliban | - | - | - | 0.83212 | 1.1751
Western | - | - | - | 1.1232 | 1.0095
East Gippsland | - | - | - | 1.6467 | 0.88526
Yarra Valley | - | - | - | 0.60977 | 0.66117
Central Highlands | - | - | - | 1.2572 | 0.60455
Goulburn Valley | - | - | - | 0.40562 | 0.48227
North East | - | - | - | 0.4987 | 0.47878
South East | - | - | - | 0.16595 | 0.19208
Barwon | - | - | - | 0.66478 | 0.16418
Lower Murray | - | - | - | 0.20817 | 0.10371
From 2016-17, changed performance indicator definition
Residential supply restrictions for nonpayment of bills (per 100 customers)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Central Highlands | 0.16263 | 0.21443 | 0.10262 | 0.1021 | 0.7069
Coliban | 0.30995 | 0.17136 | 0.61274 | 0.66109 | 0.64672
North East | 0.38157 | 0.45788 | 0.53493 | 0.27814 | 0.48603
GWMWater | 0.39477 | 0.35916 | 0.38274 | 0.37729 | 0.39415
Wannon | 0.46352 | 0.46023 | 0.29949 | 0.36861 | 0.382
Yarra Valley | 0.13421 | 0.29127 | 0.26837 | 0.26402 | 0.25786
Goulburn Valley | 0.2825 | 0.36451 | 0.29886 | 0.19431 | 0.21059
Barwon | 0.17687 | 0.16492 | 0.1785 | 0.15468 | 0.14939
South East | 0.1348 | 0.18729 | 0.17379 | 0.15659 | 0.12956
Westernport | 0.56822 | 0 | 0.060338 | 0 | 0.1227
South Gippsland | 0.12323 | 0.12146 | 0.24018 | 0.26077 | 0.12225
Lower Murray | 0.14666 | 0.12072 | 0.10247 | 0.037223 | 0.093765
Gippsland | 0.28833 | 0.33646 | 0.25184 | 0.17688 | 0.075252
City West | 0 | 0 | 0 | 0.01632 | 0.045912
Western | 0.20579 | 0.077592 | 0.25586 | 0.24358 | 0.027503
East Gippsland | 0 | 0 | 0 | 0 | 0
Non-residential supply restrictions for nonpayment of bills (per 100 customers)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Coliban | 0.014948 | 0 | 0.05878 | 0.17518 | 0.17409
Goulburn Valley | 0.12702 | 0.2211 | 0.20389 | 0.046802 | 0.12446
North East | 0.083682 | 0.062775 | 0 | 0.021683 | 0.10881
Yarra Valley | 0.091089 | 0.17085 | 0.19494 | 0.13426 | 0.041663
South Gippsland | 0.15773 | 0.12614 | 0.094488 | 0.22047 | 0.031309
GWMWater | 0.14903 | 0.14843 | 0.08507 | 0 | 0.021372
South East | 0.044437 | 0.029928 | 0.032818 | 0.013687 | 0.0033406
City West | 0 | 0 | 0 | 0.0024832 | 0
Barwon | 0.0086199 | 0.033936 | 0.025155 | 0.01662 | 0
Central Highlands | 0 | 0.017966 | 0 | 0 | 0
East Gippsland | 0 | 0 | 0 | 0 | 0
Gippsland | 0 | 0 | 0 | 0 | 0
Lower Murray | 0 | 0 | 0 | 0.026021 | 0
Wannon | 0.046795 | 0.10922 | 0 | 0.031187 | 0
Western | 0 | 0 | 0 | 0.064185 | 0
Westernport | 0 | 0 | 0 | 0 | 0
Residential legal actions [to recover unpaid debt] (per 100 customers)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Lower Murray | 0.031428 | 0.031043 | 0.010247 | 0.071061 | 0.097113
Westernport | 0.006846 | 0 | 0.0067042 | 0.13134 | 0.096868
Central Highlands | 0.01006 | 0.024742 | 0.087961 | 0.11486 | 0.086017
East Gippsland | 0.11169 | 0.08006 | 0.024672 | 0.019469 | 0.076838
GWMWater | 0.18422 | 0.08979 | 0.03716 | 0.03329 | 0.047887
Wannon | 0.022474 | 0.2064 | 0.088739 | 0.12929 | 0.046386
Western | 0.096405 | 0 | 0.056079 | 0.10149 | 0.042064
Goulburn Valley | 0.040358 | 0.0099592 | 0.027527 | 0.013602 | 0.0076578
Coliban | 0 | 0.00459 | 0.040649 | 0.016342 | 0.0073158
City West | 0.17281 | 0.11025 | 0.066212 | 0.0076655 | 0.0054999
Yarra Valley | 0.043228 | 0.045658 | 0.019791 | 0.0057514 | 0.0054892
North East | 0.013792 | 0.0203 | 0.0022196 | 0.0021901 | 0.0043012
South East | 0.0015638 | 0.0026076 | 0.0013449 | 0.0027754 | 0.0028475
Barwon | 0 | 0 | 0 | 0 | 0
Gippsland | 0.039999 | 0.011489 | 0.004843 | 0.0015935 | 0
South Gippsland | 0.0061614 | 0.018219 | 0.0060046 | 0.10668 | 0
Average debt level (residential) - restrictions
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
City West | 0 | 0 | 0 | 4916.79 | 3554
South East | 1637 | 1575 | 1435 | 1544 | 1572
Yarra Valley | 2021.67 | 1698.33 | 1554.87 | 1403 | 1308.51
Barwon | 947.58 | 872.5 | 855.5115 | 868 | 867
Central Highlands | 737 | 786 | 1062 | 1431 | 832
Coliban | 615.24 | 646 | 572 | 603 | 526.94
East Gippsland | 0 | 0 | 0 | 0 | 0
Gippsland | 679.93 | 529.85 | 622.08 | 611 | 1281
Goulburn Valley | 768.04 | 492.9 | 6807 | 4180 | 667.26
GWMWater | 1082.58 | 1015.77 | 1041 | 1068.966 | 1512.586
Lower Murray | 828.35 | 681.85 | 960.75 | 3032 | 1142.58
North East | 398 | 454.55 | 428.2 | 363 | 448
South Gippsland | 690 | 842 | 804 | 569 | 610
Wannon | 482 | 496 | 429 | 0 | 643
Western | 1103 | 1166 | 1188 | 1300 | 1123
Westernport | 904 | 0 | 995 | 0 | 1993
Wannon Water was unable to report average debt level for 2016-17
Average debt level (residential) - legal action
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
City West | 1091 | 1331 | 1253.02 | 2988.35 | 1747
South East | 7020 | 5785 | 7425 | 3364 | 3030
Yarra Valley | 3184.66 | 2734.77 | 2816.45 | 4881 | 3829
Barwon | 0 | 0 | 0 | 0 | 0
Central Highlands | 1772 | 2812 | 1972 | 1613 | 1613
Coliban | 0 | 648 | 3379 | 1493 | 2211.56
East Gippsland | 1148.73 | 952.93 | 1773 | 1888 | 2412
Gippsland | 1615.01 | 1232.92 | 3517.99 | 2111.76 | 0
Goulburn Valley | 1546.74 | 1495.7 | 2908 | 4141 | 2860
GWMWater | 3408.16 | 2629.19 | 2590 | 2649.559 | 2034.195
Lower Murray | 1802.53 | 910.76 | 891.9933 | 1788 | 2371.45
North East | 1206.56 | 1844 | 1003.51 | 796.33 | 871
South Gippsland | 2013 | 2369 | 1470 | 1123.4 | 0
Wannon | 1214 | 1452 | 1612 | 0 | 1437
Western | 2234 | 0 | 1957 | 2065 | 3390
Westernport | 1454.15 | 0 | 2859 | 2728 | 4270
Wannon Water was unable to report average debt level for 2016-17
Hardship grants approved (per 100 customers)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
East Gippsland | - | - | 1.3421 | 1.2217 | 1.2486
Goulburn Valley | - | - | 0.67833 | 0.85498 | 1.1334
Yarra Valley | - | - | 0.98603 | 0.95254 | 0.98149
Barwon | - | - | 1.9679 | 0.80784 | 0.87647
Western | - | - | 0.59409 | 0.67154 | 0.63904
GWMWater | - | - | 0.25268 | 0.18495 | 0.55991
Wannon | - | - | 0.71545 | 0.57217 | 0.39837
Coliban | - | - | 0.59618 | 0.6804 | 0.38774
Westernport | - | - | 0.033521 | 0.013134 | 0.38101
North East | - | - | 0.11986 | 0.10512 | 0.2
Central Highlands | - | - | 0.35999 | 0.41319 | 0.16891
Gippsland | - | - | 0.056502 | 0.070113 | 0.15207
City West | - | - | 0.083664 | 0.12487 | 0.11454
South East | - | - | 0.1569 | 0.089105 | 0.077736
Lower Murray | - | - | 0 | 0 | 0
South Gippsland | - | - | 0.018014 | 0.01778 | 0
From 2015-16, changed performance indicator definition
Average value of hardship grants ($, nominal)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
City West | 675.6536 | 667.1882 | 822.2545 | 687.099 | 677.2881
North East | 432.7558 | 391.9089 | 512.3704 | 435.6875 | 639.4194
Western | 151.2107 | 159.2797 | 414.6844 | 405.7163 | 486.2734
Central Highlands | 544.6667 | 232.6765 | 72.6697 | 225.5753 | 436.9044
Goulburn Valley | 277.0365 | 138.9253 | 536.8922 | 307.1614 | 274.5797
Coliban | 0 | 492.7822 | 191.5422 | 296.9716 | 262.2218
Wannon | 306.1129 | 227.7435 | 239.2558 | 204.4375 | 229.4589
Yarra Valley | 157.7448 | 102.2779 | 192.4027 | 211.594 | 220.3023
East Gippsland | 116.1072 | 120.6834 | 148.3162 | 151.2948 | 165.4269
Gippsland | 447.233 | 366.4756 | 337.0906 | 627.8225 | 141.9897
Barwon | 34.7593 | 32.8738 | 34.8023 | 79.1401 | 78.2408
Westernport | 285.8979 | 340.6522 | 1894.2 | 1680 | 64.8305
South East | 250.2545 | 421.3165 | 128.279 | 274.0033 | 42.4377
GWMWater | 0 | 19.3182 | 47.2794 | 35.6 | 5.7237
Lower Murray | 0 | 0 | 0 | 0 | 0
South Gippsland | 0 | 0 | 576.6667 | 3000 | 0

## 4. Customer responsiveness
Essential Services Commission
2017-18 Water Performance Report
Data - How do water businesses respond to their customers?
Victorian water business rankings - Overall benchmark score and each pillar under SenseCX
Rank | Water business | Ease | Sentiment | Success | Number of calls | Early exit*
1 | Coliban | 45.1754 | 69.3609 | 71.0965 | 60 | 3
2 | Western | 34.7522 | 61.3916 | 65 | 60 | 2
2 | East Gippsland | 38.6315 | 61.6995 | 61.6379 | 60 | 2
4 | Wannon | 31.5104 | 64.8214 | 61.0833 | 60 | 0
5 | South East | 32.7851 | 67.7945 | 57.6316 | 60 | 3
6 | North East | 31.3559 | 59.7458 | 63.5169 | 60 | 1
7 | Barwon | 30.8854 | 60.7738 | 62.625 | 60 | 0
8 | Goulburn Valley | 29.8199 | 59.322 | 62.0339 | 60 | 1
9 | Gippsland | 29.6081 | 59.322 | 61.8644 | 60 | 1
10 | Westernport | 33.0729 | 61.3095 | 56.875 | 60 | 0
10 | Yarra Valley | 30.6674 | 60.23 | 59.4915 | 60 | 1
11 | Central Highlands | 28.5417 | 58.9286 | 60.2083 | 60 | 0
13 | GWMWater | 29.375 | 60.9524 | 57.3333 | 60 | 0
14 | City West | 30.8792 | 58.7167 | 57.2458 | 60 | 1
15 | South Gippsland | 29.6569 | 56.3725 | 57.6961 | 60 | 9
16 | Lower Murray | 25.4767 | 55.0242 | 57.3305 | 60 | 1
| VIC Water Sector | 31.9853 | 60.9931 | 60.7914 | 960 | 25
* Early Exit calls did not receive a score due to wait/hold time exceeding 10 minutes, call went to voicemail or was disconnected.
Average time taken to connect to an operator — account and fault line business-reported data (seconds)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Yarra Valley | 41.1517 | 65.0567 | 138.131 | 95.1134 | 116.1305
South East | 29.9995 | 31.1085 | 34.6899 | 49.5684 | 112.1039
Central Highlands | 30.9959 | 42.7642 | 16.5969 | 15.3618 | 27.1122
City West | 25.6364 | 21.7937 | 25.9759 | 25.7161 | 26.3725
Gippsland | 20.8554 | 66.4967 | 16.5784 | 22.7096 | 26.0496
Barwon | 43.2808 | 19.8506 | 18.5726 | 22.1149 | 25.1001
Coliban | 13.8458 | 13.506 | 13.8629 | 12.7456 | 18.7252
Western | 19.0477 | 18.0337 | 21.0269 | 17.4481 | 17.4879
Wannon | 7.997 | 10.8277 | 14.0021 | 14.4092 | 14.8066
Lower Murray | 19.3262 | 17.8653 | 18.7347 | 13.9758 | 14.8016
North East | 16.8507 | 15.3146 | 15.0046 | 13.0624 | 12.5317
GWMWater | 13.7539 | 10.3911 | 10.7281 | 11.6774 | 12.4925
Westernport | 20.1014 | 15.718 | 9.7735 | 9.1038 | 9.2974
Goulburn Valley | 25.3632 | 26.4688 | 0 | 8.8419 | 7.8769
East Gippsland | 5.8974 | 6.6 | 7.6751 | 6.8066 | 7.8101
South Gippsland | 29.5854 | 3.8625 | 5.025 | 5.7663 | 5.3009
Goulburn Valley Water was unable to provide call data for 2015-16, and the first quarter of 2016‑17
Calls answered within 30 seconds - account line and fault lines - (per cent)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
East Gippsland | 99.8087 | 99.757 | 99.4943 | 99.817 | 99.0526
Wannon | 99.1739 | 98.9553 | 99.3026 | 98.7644 | 98.7894
South Gippsland | 99.5166 | 99.6512 | 99.4529 | 98.3145 | 98.7702
Goulburn Valley | 98.9349 | 98.9809 | 97.2215 | 97.2709 | 98.55
Westernport | 97.8233 | 97.7319 | 97.5813 | 98.8197 | 98.2741
Lower Murray | 85.7027 | 87.5735 | 86.4035 | 94.1202 | 94.781
GWMWater | 94.3731 | 93.9551 | 93.1115 | 92.288 | 91.0596
Coliban | 90.3168 | 91.2804 | 90.8714 | 92.0866 | 86.5248
Gippsland | 83.0569 | 82.6837 | 88.8035 | 85.3531 | 83.5259
City West | 83.268 | 82.5749 | 82.466 | 80.727 | 81.273
Central Highlands | 90.4239 | 91.0274 | 88.2046 | 89.3919 | 79.7011
Barwon | 92.0873 | 89.4663 | 88.0422 | 84.7759 | 79.0313
Western | 97.7629 | 94.4258 | 88.3248 | 84.1299 | 74.9815
North East | 89.5201 | 89.8602 | 90.7825 | 93.46 | 59.6346
Yarra Valley | 76.8998 | 63.5108 | 46.8566 | 64.3092 | 54.418
South East | 88.3237 | 84.4464 | 77.1522 | 67.3636 | 52.6353
Complaints received by water business [total] (per 100 customers)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Yarra Valley | 0.70487 | 0.49805 | 0.57874 | 1.098 | 1.1113
South Gippsland | 0.97423 | 0.60091 | 0.51944 | 0.6235 | 0.98174
Wannon | 0.41659 | 0.3644 | 0.6099 | 0.66408 | 0.91943
Gippsland | 0.92007 | 0.95249 | 0.93773 | 1.0862 | 0.87264
Central Highlands | 0.82991 | 0.31726 | 0.49984 | 0.68863 | 0.84382
Westernport | 1.3544 | 0.4902 | 0.68244 | 0.68015 | 0.6292
Coliban | 0.60514 | 0.63369 | 0.64729 | 0.86027 | 0.53165
GWMWater | 0.54961 | 0.73462 | 0.73704 | 0.48853 | 0.50588
Goulburn Valley | 0.58723 | 0.38913 | 0.66392 | 0.54257 | 0.38696
South East | 0.46583 | 0.34342 | 0.34328 | 0.29514 | 0.37927
East Gippsland | 0.13738 | 0.096217 | 0.18137 | 0.40494 | 0.36616
North East | 0.15119 | 0.26062 | 0.17145 | 0.28644 | 0.34446
City West | 0.32739 | 0.34305 | 0.5165 | 0.32833 | 0.33308
Western | 0.46548 | 0.39845 | 0.54689 | 0.33101 | 0.3324
Barwon | 0.45673 | 0.41562 | 0.44446 | 0.43107 | 0.28714
Lower Murray | 0.13812 | 0.18517 | 0.29479 | 0.58991 | 0.23132
Complaint types (per cent) 2017-18
| Water quality | Supply reliability | Sewerage service | Payment Issues | Flow rate / water pressure | Sewer odour | Other
City West | 21.58% | 6.671% | 2.027% | 38.59% | 0.1308% | 3.663% | 27.34%
South East | 56.55% | 0.2421% | 0.3459% | 14.22% | 16.81% | 1.972% | 9.858%
Yarra Valley | 29.08% | 20.29% | 7.045% | 30.35% | 8.851% | 1.414% | 2.973%
Barwon | 28.63% | 1.322% | 8.811% | 8.37% | 15.86% | 7.489% | 29.52%
Central Highlands | 24.02% | 0.6814% | 0.8518% | 0.8518% | 70.7% | 2.896% | 0%
Coliban | 48.25% | 0.25% | 0% | 0.75% | 2.5% | 28% | 20.25%
East Gippsland | 57.47% | 0% | 1.149% | 13.79% | 0% | 8.046% | 19.54%
Gippsland | 26.44% | 1.642% | 0.6568% | 22.33% | 25.62% | 4.926% | 18.39%
Goulburn Valley | 52.42% | 3.084% | 2.203% | 17.18% | 2.643% | 7.93% | 14.54%
GWMWater | 53.42% | 6.832% | 3.106% | 16.15% | 0.6211% | 4.969% | 14.91%
Lower Murray | 43.59% | 5.128% | 1.282% | 19.23% | 2.564% | 3.846% | 24.36%
North East | 62.5% | 7.955% | 1.136% | 9.091% | 2.273% | 2.273% | 14.77%
South Gippsland | 89.5% | 0% | 0% | 5% | 0.5% | 1% | 4%
Wannon | 54.29% | 4.545% | 2.273% | 16.16% | 2.273% | 2.273% | 18.18%
Western | 78.7% | 0.463% | 1.852% | 9.722% | 0.463% | 2.778% | 6.019%
Westernport | 28.85% | 0% | 0% | 34.62% | 5.769% | 5.769% | 25%
Total | 47.21% | 3.694% | 2.046% | 16.02% | 9.848% | 5.578% | 15.6%

## 5. Network reliability
Essential Services Commission
2017-18 Water Performance Report
Data - How reliable are the water and sewer networks?
Water supply interruptions (planned and unplanned) (per 100 kilometres of water main)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Yarra Valley | 66.1437 | 64.3161 | 61.8382 | 73.5559 | 71.7226
GWMWater | 59.024 | 46.8115 | 47.2231 | 42.5549 | 46.5339
City West | 45.9125 | 41.1944 | 42.0511 | 40.5091 | 44.2973
Westernport | 40.7336 | 42.2252 | 52.3839 | 42.385 | 40.095
South East | 33.4606 | 35.3529 | 35.4546 | 35.748 | 37.223
Barwon | 35.258 | 34.5578 | 34.473 | 32.1127 | 31.4077
Gippsland | 29.7233 | 30.1665 | 27.3391 | 24.8661 | 24.5904
Lower Murray | 42.1336 | 31.6975 | 32.3737 | 27.8615 | 24.5314
South Gippsland | 31.7597 | 27.6989 | 27.234 | 24.9292 | 23.0337
North East | 17.9465 | 18.4226 | 12.8497 | 21.7797 | 20.7028
East Gippsland | 17.5647 | 12.1061 | 12.4733 | 11.4808 | 18.468
Western | 20.4913 | 20.5301 | 20.7547 | 18.2718 | 17.7579
Central Highlands | 12.6332 | 15.1352 | 13.1986 | 10.2322 | 15.5403
Goulburn Valley | 23.6303 | 18.8565 | 19.116 | 16.1941 | 14.6486
Coliban | 10.1658 | 9.6396 | 13.9003 | 13.3966 | 13.133
Wannon | 9.5647 | 6.8025 | 8.6735 | 8.2234 | 7.9574
Customer interruption frequency — planned and unplanned (interruptions per customer)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Westernport | 0.73941 | 0.70098 | 0.75701 | 0.9174 | 0.6612
GWMWater | 0.78757 | 0.4076 | 0.42612 | 0.66279 | 0.51489
Yarra Valley | 0.35055 | 0.26081 | 0.22724 | 0.28782 | 0.32628
Barwon | 0.31181 | 0.30457 | 0.31018 | 0.25052 | 0.2729
South East | 0.2282 | 0.23998 | 0.23393 | 0.23925 | 0.25663
South Gippsland | 0.41242 | 0.38697 | 0.35251 | 0.23134 | 0.23827
East Gippsland | 0.27201 | 0.17599 | 0.17269 | 0.12033 | 0.22546
City West | 0.19353 | 0.17637 | 0.17027 | 0.17423 | 0.21796
Western | 0.37943 | 0.31154 | 0.33909 | 0.27133 | 0.17251
Gippsland | 0.20881 | 0.30181 | 0.19404 | 0.17731 | 0.16701
Lower Murray | 0.14536 | 0.17567 | 0.24576 | 0.18395 | 0.15608
North East | 0.15578 | 0.13251 | 0.073503 | 0.16164 | 0.13405
Central Highlands | 0.087363 | 0.12461 | 0.094685 | 0.078592 | 0.11141
Coliban | 0.084127 | 0.066059 | 0.098009 | 0.11028 | 0.10069
Goulburn Valley | 0.16622 | 0.13055 | 0.14552 | 0.11601 | 0.099076
Wannon | 0.14143 | 0.051797 | 0.06756 | 0.059253 | 0.074716
Planned customer water supply interruption frequency in peak hours (interruptions per customer)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
East Gippsland | 0.0094837 | 0.0096654 | 0.0018137 | 0.0014919 | 0.014057
South East | 0.0049329 | 0.0027513 | 0.0046307 | 0.0081449 | 0.0088292
Gippsland | 0.012945 | 0.0081642 | 0.004063 | 0.0056418 | 0.0074655
GWMWater | 0.050519 | 0.026682 | 0.015279 | 0.12982 | 0.0062842
Wannon | 0 | 9.465e-05 | 0 | 0.001099 | 0.0039935
Barwon | 0.0064492 | 0.0042574 | 0.0043456 | 0.0024049 | 0.0032762
City West | 0.0041247 | 0.0016489 | 0.0018265 | 0.0011379 | 0.0019148
Goulburn Valley | 0.00064453 | 0.0019103 | 0.00034943 | 0 | 0.0010739
Yarra Valley | 0.00077566 | 0.00065964 | 0.0010911 | 0.0009555 | 0.0009213
Central Highlands | 9.2041e-05 | 0.00033237 | 0.00068634 | 0.00067398 | 0.00089125
Lower Murray | 0.007796 | 0.0051302 | 0.0088738 | 0.0028447 | 0.00065245
North East | 0.0057575 | 0.013601 | 0.0026424 | 0.028902 | 0.00033272
South Gippsland | 0 | 0.0012731 | 0 | 0 | 9.8174e-05
Coliban | 0.00038086 | 4.1599e-05 | 0 | 6.7419e-05 | 0
Western | 0 | 0 | 0 | 0 | 0
Westernport | 0.0613 | 0.0022918 | 0 | 0 | 0
Average duration of planned interruptions (minutes)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
GWMWater | 149.8422 | 209.6048 | 190.2654 | 275.8215 | 198.2555
South East | 175.1155 | 143.5294 | 153.0187 | 148.0641 | 171.1157
Barwon | 172.7063 | 173.4962 | 128.9702 | 139.3728 | 169.3868
Gippsland | 170.8779 | 191.3625 | 156.6597 | 141.9774 | 167.0809
South Gippsland | 176.94 | 160.705 | 195.7299 | 170.9456 | 163.803
Wannon | 171.9977 | 198.521 | 145.4927 | 115.7749 | 150.8222
East Gippsland | 120.1859 | 145.1659 | 122.6577 | 111.3766 | 142.4025
Westernport | 167.3921 | 148.4604 | 147.669 | 163.4869 | 141.4918
City West | 122.5617 | 117.1669 | 128.5475 | 176.2596 | 133.611
Western | 150.2522 | 159.0146 | 163.3882 | 165.6829 | 122.9744
Goulburn Valley | 99.1658 | 112.4036 | 93.7475 | 110.449 | 112.6631
Central Highlands | 111.8913 | 134.4809 | 143.0005 | 117.0302 | 111.8946
Yarra Valley | 102.0192 | 110.4148 | 151.6457 | 113.3746 | 111.6284
North East | 85.0319 | 77.4257 | 87.5346 | 98.4613 | 103.0916
Lower Murray | 72.5333 | 78.902 | 80.4595 | 82.8555 | 64.316
Coliban | 97.1429 | 102.4138 | 108.7838 | 360 | 60.5435
Average duration of unplanned interruptions (minutes)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Central Highlands | 103.8122 | 68.7736 | 109.2462 | 107.3406 | 137.6911
GWMWater | 74.6341 | 84.6497 | 105.7072 | 112.3368 | 123.791
City West | 115.4204 | 112.0596 | 119.5353 | 175.4337 | 119.5613
North East | 101.7147 | 104.6569 | 107.6969 | 156.0753 | 111.3838
Westernport | 92.3069 | 103.3732 | 80.191 | 109.3465 | 108.29
Yarra Valley | 99.3991 | 103.2158 | 122.4973 | 118.1511 | 102.8717
Goulburn Valley | 100.0178 | 112.9467 | 107.5419 | 98.1578 | 102.461
Coliban | 170.1729 | 114.2546 | 118.4255 | 131.9634 | 102.459
South Gippsland | 138.5832 | 160.0294 | 95.5929 | 91.3652 | 96.2853
Western | 76.9332 | 95.268 | 92.7911 | 214.685 | 90.038
Barwon | 93.1284 | 88.2987 | 99.549 | 101.0916 | 89.3702
South East | 91.0185 | 89.3405 | 81.2688 | 83.1223 | 87.4171
Gippsland | 74.4352 | 88.8934 | 76.2345 | 87.3748 | 85.1562
Wannon | 100.9335 | 91.2061 | 104.8965 | 93.5405 | 79.2783
East Gippsland | 75.7512 | 63.9326 | 71.4771 | 91.991 | 75.7266
Lower Murray | 43.075 | 56.7417 | 54.1305 | 57.1774 | 59.3328
Average customer minutes off supply (minutes)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Westernport | 102.2336 | 91.6565 | 87.0175 | 130.8781 | 83.6637
GWMWater | 74.6671 | 48.8009 | 54.2054 | 129.1103 | 72.8317
Barwon | 45.4898 | 43.8152 | 36.454 | 29.8679 | 37.6339
Yarra Valley | 35.1532 | 27.3602 | 28.7847 | 33.7157 | 34.3122
South Gippsland | 64.6068 | 62.0047 | 49.2368 | 33.1128 | 30.6639
City West | 22.8665 | 20.0751 | 20.8064 | 30.608 | 27.0619
South East | 23.3594 | 23.7268 | 21.465 | 22.5812 | 26.2845
East Gippsland | 29.3446 | 20.3287 | 17.6566 | 12.114 | 26.1433
Gippsland | 25.8052 | 44.3479 | 21.4165 | 19.7807 | 20.2156
Western | 47.8947 | 44.1185 | 47.7672 | 50.4508 | 17.9468
Central Highlands | 9.1217 | 9.3767 | 11.312 | 8.4973 | 15.1005
North East | 15.1973 | 12.7396 | 7.4459 | 21.275 | 14.3883
Goulburn Valley | 16.5788 | 14.7181 | 15.1379 | 11.9495 | 10.4612
Coliban | 14.1647 | 7.5381 | 11.6019 | 14.5688 | 10.2401
Lower Murray | 7.6873 | 11.4782 | 16.1811 | 12.3755 | 9.5658
Wannon | 20.9432 | 5.9533 | 7.7426 | 5.7827 | 7.5678
Bursts and leaks (per 100km water main)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
GWMWater | 60.3032 | 55.3963 | 55.5376 | 55.4075 | 58.4861
Yarra Valley | 50.549 | 46.2463 | 48.4541 | 47.3718 | 46.2792
City West | 39.9285 | 37.0708 | 40.148 | 42.1665 | 42.8175
South East | 30.7782 | 32.2403 | 33.4696 | 32.6661 | 34.6627
South Gippsland | 47.7825 | 39.9148 | 40.8511 | 29.4618 | 34.2697
Barwon | 31.0301 | 29.0504 | 33.472 | 30.9805 | 29.3327
Coliban | 28.5914 | 26.1261 | 29.0521 | 28.7894 | 28.5135
Lower Murray | 30.0009 | 35.4137 | 32.0478 | 28.5893 | 26.1875
Central Highlands | 22.8043 | 20.6715 | 18.7872 | 18.2212 | 25.4439
Gippsland | 25.2385 | 25.0834 | 24.5158 | 22.9425 | 25.057
Westernport | 16.6734 | 13.6282 | 21.9746 | 16.4708 | 18.5222
East Gippsland | 7.5431 | 17.2486 | 12.8998 | 12.7565 | 17.1039
Goulburn Valley | 27.5042 | 22.6498 | 19.9376 | 12.9226 | 16.3784
Western | 13.3364 | 12.2141 | 13.2585 | 12.2803 | 12.1526
North East | 13.2851 | 12.4928 | 8.7127 | 13.0678 | 10.3207
Wannon | 10.5212 | 9.7255 | 11.1224 | 9.2893 | 8.2615
Average response time to bursts and leaks - priority one (minutes)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Central Highlands | 37.5417 | 31.2778 | 38.6667 | 37.3684 | 31.2449
South East | 35.4157 | 31.4816 | 32.778 | 32.0444 | 30.861
Gippsland | 33.8235 | 29.3367 | 26.4815 | 27.1458 | 27.6905
Barwon | 26.1719 | 23.16 | 24.6364 | 27.058 | 26.3143
Coliban | 36.8704 | 27.2604 | 27.4808 | 23.8261 | 24.6667
Yarra Valley | 31.8959 | 41.709 | 63.9372 | 46.9145 | 24.2674
City West | 21.1113 | 24.359 | 22.2342 | 31.7934 | 23.7456
Western | 0 | 15 | 10.5 | 20 | 21.8
South Gippsland | 16.9837 | 20.8851 | 24.3817 | 22.8588 | 18.0143
GWMWater | 30.4167 | 23.0385 | 26.65 | 16.5862 | 17.1176
Westernport | 6 | 8.75 | 0 | 6.55 | 16.5167
Lower Murray | 19.3478 | 15.6154 | 12.75 | 15.5833 | 16.1818
North East | 20 | 0 | 0 | 6.8333 | 3
East Gippsland | 0 | 0 | 0 | 0 | 0
Goulburn Valley | 0 | 0 | 19 | 0 | 0
Wannon | 16 | 10 | 5 | 9.3542 | 0
Average response time to bursts and leaks - priority two (minutes)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Central Highlands | 54.0762 | 64.5135 | 42.0622 | 62.1192 | 57.0094
South East | 91.535 | 54.4139 | 56.0052 | 62.0425 | 56.9696
Coliban | 146.3195 | 50.5862 | 51.9105 | 54.2683 | 53.1322
Yarra Valley | 43.9546 | 53.4808 | 216.5539 | 80.3856 | 44.1823
Gippsland | #N/A | 52.7586 | 56.7222 | 60.3043 | 42.6842
Barwon | 41.4467 | 32.1921 | 35.3991 | 38.3642 | 39.6024
City West | 31.4029 | 32.8552 | 36.9566 | 39.4599 | 36.6051
Goulburn Valley | 34.8863 | 35.456 | 25.6094 | 23.7321 | 32.3276
Westernport | 41.375 | 9.4 | 29.7627 | 27.5417 | 31
Lower Murray | 20.0426 | 26.0982 | 19.3478 | 17.0163 | 30.4419
Western | 41 | 38 | 31 | 25.5 | 30.0256
East Gippsland | 26.2857 | 23 | 23.6667 | 12.6 | 21.4
GWMWater | 32.2955 | 25.604 | 32.3252 | 27 | 21.3878
South Gippsland | 21.9127 | 22.4 | 24.4146 | 25.2683 | 17.9706
Wannon | 19.6667 | 24.6908 | 16.9444 | 22.1758 | 16.0627
North East | 19.2875 | 22.2207 | 23.6364 | 19.8421 | 10.75
Average time to rectify bursts and leaks - Priority one (minutes)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Central Highlands | 465.25 | 674.6111 | 1311.7143 | 253.8316 | 659.5306
Barwon | 388.0156 | 338.8 | 571.5 | 564.3043 | 585.6
GWMWater | 227.9167 | 226.3077 | 237.95 | 239.069 | 575.0588
Gippsland | #N/A | 253.7857 | 264.537 | 284.0625 | 566.9127
City West | 300.0969 | 343.596 | 351.9697 | 417.4076 | 374.669
Coliban | 293.5 | 371.7604 | 328.6923 | 405.3478 | 356.2778
Western | 0 | 205 | 1138 | 1065 | 297.8
South Gippsland | 2299.5122 | 1255.5632 | 497.5267 | 324.9647 | 291.9429
South East | 267.8669 | 268.4544 | 247.8836 | 253.1578 | 266.0762
Westernport | 335 | 502.7 | 0 | 756.55 | 245.0167
Yarra Valley | 304.0162 | 633.5224 | 1405.4435 | 315.9276 | 229.907
Lower Murray | 168.0435 | 185.2308 | 171.5 | 321.8333 | 201.7273
North East | 187.5 | 0 | 0 | 221.1667 | 155.5
East Gippsland | 0 | 0 | 0 | 0 | 0
Goulburn Valley | 0 | 0 | 736.5 | 0 | 0
Wannon | 252 | 233 | 470 | 603.2542 | 0
Average time to rectify bursts and leaks - Priority two (minutes)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Central Highlands | 449.2381 | 1337.3333 | 1094.5233 | 1105.1451 | 1018.3491
Coliban | 1019.7041 | 346.819 | 705.2632 | 2065.7561 | 789.1818
Westernport | 177.3125 | 274.4 | 490.9961 | 282.6333 | 729.9375
City West | 329.1976 | 396.7553 | 558.8197 | 789.0357 | 642.4485
Gippsland | #N/A | 297.9655 | 265.1389 | 242.5217 | 599.6316
Barwon | 468.5667 | 618.6725 | 672.824 | 517.3827 | 557.5361
Yarra Valley | 328.7932 | 870.3301 | 3819.1197 | 824.1802 | 534.0769
Wannon | 392 | 256.5026 | 333.1667 | 317.885 | 496.6588
Goulburn Valley | 1230.0431 | 719.088 | 473.1484 | 230.4821 | 487.1727
Western | 674.5 | 277 | 304.4444 | 270.5 | 467.7949
GWMWater | 230.3636 | 327.8792 | 270.2276 | 259.3582 | 306.0367
South East | 360.0156 | 288.2104 | 284.4266 | 268.6037 | 287.1342
East Gippsland | 288.8571 | 434.6667 | 372.3333 | 473.4 | 262.8
Lower Murray | 135.8298 | 160.4601 | 200.913 | 271.6748 | 247.686
North East | 231.6375 | 247.9448 | 215.4545 | 241.0526 | 237.625
South Gippsland | 6257.8651 | 2754.8222 | 2613.3659 | 419.4146 | 151.8235
Unplanned water supply interruptions restored within 5 hours (per cent)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Coliban | 95.3271 | 98.0861 | 98.0519 | 98.0066 | 100
Westernport | 100 | 98.2143 | 98.7179 | 99.115 | 100
Goulburn Valley | 100 | 97.7169 | 98.2684 | 99.4286 | 99.422
Lower Murray | 99.6656 | 99.4819 | 100 | 99.4186 | 99.3671
Wannon | 99.1667 | 95.3704 | 94.7368 | 95.5224 | 99.1379
Western | 99.0868 | 98.5366 | 98 | 99.4737 | 99.0476
East Gippsland | 98.7342 | 98.2759 | 100 | 98.1159 | 98.8506
North East | 99.0521 | 98.5915 | 98.5507 | 94.7619 | 98.8095
Gippsland | 98.7981 | 98.5401 | 98.9691 | 98.7768 | 98.6188
South Gippsland | 99.3377 | 98.3471 | 99.1736 | 98.9362 | 98.0583
South East | 99.3355 | 99.3911 | 99.0648 | 98.531 | 98.0147
City West | 97.8648 | 98.0228 | 95.8276 | 95.2285 | 97.0112
GWMWater | 97.1014 | 99.3617 | 97.7178 | 97.8448 | 96.9072
Barwon | 97.7586 | 97.8896 | 98 | 97.1429 | 96.5839
Yarra Valley | 97.0269 | 96.477 | 94.2496 | 96.0703 | 96.546
Central Highlands | 97.786 | 98.7302 | 97.2441 | 95.4751 | 94.3503
Sewer blockages (per 100 kilometres of sewer main)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
GWMWater | 38.6579 | 45.0066 | 50.4917 | 46.3354 | 42.1053
Yarra Valley | 27.6489 | 31.5653 | 35.3185 | 38.0902 | 30.7216
Coliban | 62.8833 | 48.1698 | 53.7337 | 40.4541 | 29.7579
Barwon | 29.0393 | 35.3957 | 38.8452 | 32.7773 | 24.9337
City West | 16.1979 | 17.0016 | 21.3724 | 20.3295 | 21.2986
Central Highlands | 18.8471 | 19.6805 | 22.6131 | 19.3343 | 19.1341
South East | 14.8385 | 14.3062 | 17.5786 | 17.9555 | 16.2475
Lower Murray | 16.7499 | 17.1303 | 15.6274 | 17.4652 | 14.5522
South Gippsland | 14.7541 | 23.6364 | 29.9163 | 22.9167 | 13.4
Western | 15.6847 | 15.5158 | 14.0811 | 11.522 | 12.737
Wannon | 11.5423 | 13.3862 | 18.174 | 17.6167 | 12.4336
North East | 9.6829 | 8.7884 | 9.5919 | 11.1296 | 10.2528
Gippsland | 8.5697 | 7.9518 | 7.9847 | 8.4009 | 9.1382
East Gippsland | 5.266 | 6.1228 | 5.2098 | 5.8825 | 7.6379
Goulburn Valley | 20.4327 | 10.0714 | 9.5201 | 9.1261 | 6.1974
Westernport | 2.8433 | 1.9674 | 4.1982 | 7.4386 | 5.9729
Sewer spills from reticulation and branch sewers (per 100 kilometres of sewer main)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Coliban | 38.4077 | 33.5279 | 39.8956 | 25.6966 | 18.9183
Yarra Valley | 20.8387 | 20.8519 | 15.2466 | 25.8522 | 16.1237
GWMWater | 16.5677 | 21.915 | 19.5215 | 16.3194 | 13.4102
Barwon | 14.3569 | 17.1542 | 18.6174 | 13.9643 | 11.8606
Wannon | 8.5742 | 9.5771 | 11.6142 | 12.5986 | 9.6706
South East | 6.6773 | 7.6889 | 9.4055 | 10.0814 | 8.9325
East Gippsland | 6.4362 | 7.4348 | 5.644 | 6.313 | 8.0622
South Gippsland | 10.0703 | 16.3636 | 11.9247 | 9.1667 | 6.8
North East | 1.6281 | 1.2799 | 1.0097 | 3.1561 | 5.1264
Western | 7.3859 | 4.4679 | 5.0915 | 3.5812 | 4.5912
Westernport | 6.2553 | 1.9674 | 3.6384 | 4.4081 | 4.0724
Gippsland | 0.98644 | 4.6988 | 4.1381 | 4.2874 | 3.8172
Lower Murray | 5.3726 | 2.5145 | 2.8129 | 2.6275 | 2.7573
Central Highlands | 2.724 | 8.9325 | 7.9684 | 0.9915 | 2.514
City West | 2.7199 | 3.2418 | 4.4113 | 4.7807 | 2.0707
Goulburn Valley | 3.6859 | 3.5686 | 3.1471 | 1.2374 | 1.3007
Containment of sewer spills within 5 hours (per cent)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
City West | 112.5 | 100 | 99.4652 | 100 | 100
South East | 100 | 100 | 100 | 99.8947 | 100
Coliban | 99.0196 | 100.3165 | 100 | 100 | 100
East Gippsland | 100 | 98.0392 | 100 | 100 | 100
Gippsland | 100 | 100 | 98.5915 | 100 | 100
Lower Murray | 100 | 100 | 100 | 100 | 100
North East | 100 | 100 | 100 | 105.2632 | 100
South Gippsland | 100 | 100 | 100 | 100 | 100
Westernport | 90.9091 | 100 | 84.6154 | 100 | 100
Barwon | 99.7167 | 100 | 100 | 100 | 99.6805
Western | 100 | 100 | 100 | 100 | 98.3871
Yarra Valley | 99.9485 | 98.8253 | 92.1745 | 95.2458 | 98.0818
Central Highlands | 100 | 100 | 100 | 100 | 97.2222
GWMWater | 100 | 99.3289 | 99.2481 | 99.1071 | 96.7742
Wannon | 98.7179 | 100 | 94.4444 | 99.1525 | 96.7033
Goulburn Valley | 100 | 97.7778 | 100 | 100 | 94.1176
Sewer spills to customer property (per 100 customers)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Coliban | 0.50672 | 0.42437 | 0.54019 | 0.33256 | 0.22795
Yarra Valley | 0.28199 | 0.16811 | 0.10032 | 0.23899 | 0.13663
GWMWater | 0.067234 | 0.16525 | 0.19167 | 0.17861 | 0.13161
East Gippsland | 0.047738 | 0.10474 | 0.11883 | 0.12246 | 0.1311
Wannon | 0.11293 | 0.10603 | 0.094063 | 0.12331 | 0.11951
Barwon | 0.098761 | 0.15353 | 0.19401 | 0.15524 | 0.092661
Westernport | 0.14612 | 0.070358 | 0.083108 | 0.10167 | 0.073109
South East | 0.039445 | 0.050876 | 0.061177 | 0.072373 | 0.068321
North East | 0.032502 | 0.040904 | 0.011166 | 0.052728 | 0.064763
Western | 0.099992 | 0.057073 | 0.049818 | 0.039101 | 0.044093
Gippsland | 0.0069926 | 0.071924 | 0.041452 | 0.032525 | 0.043221
Lower Murray | 0.04629 | 0.038571 | 0.020912 | 0.034507 | 0.020481
Central Highlands | 0.0018051 | 0.086747 | 0.087035 | 0.0067993 | 0.018354
South Gippsland | 0.12039 | 0.21218 | 0.12805 | 0.11283 | 0.016709
Goulburn Valley | 0.036688 | 0.038243 | 0.027806 | 0.011779 | 0.015484
City West | 0.01726 | 0.016066 | 0.023487 | 0.026064 | 0.014925

## 6. Drinking water quality
Essential Services Commission
2017-18 Water Performance Report
Data - How safe is our drinking water?
Water quality complaints – all causes (per 100 customers)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
South Gippsland | 0.57732 | 0.18333 | 0.3278 | 0.45391 | 0.87866
Wannon | 0.059512 | 0.05679 | 0.33203 | 0.35776 | 0.49919
Yarra Valley | 0.37101 | 0.25867 | 0.2846 | 0.30234 | 0.32314
GWMWater | 0.24605 | 0.3689 | 0.28469 | 0.21432 | 0.27022
Western | 0.3882 | 0.33688 | 0.41059 | 0.23299 | 0.26161
Coliban | 0.30045 | 0.34389 | 0.29907 | 0.60677 | 0.25652
Gippsland | 0.39562 | 0.42915 | 0.33858 | 0.23556 | 0.2307
North East | 0.035208 | 0.038686 | 0.050428 | 0.087522 | 0.21529
South East | 0.26734 | 0.17933 | 0.17494 | 0.14602 | 0.2145
East Gippsland | 0.048748 | 0.021867 | 0.038865 | 0.29838 | 0.21044
Goulburn Valley | 0.30794 | 0.16096 | 0.33196 | 0.33867 | 0.20286
Central Highlands | 0.32061 | 0.12086 | 0.24171 | 0.23443 | 0.20269
Westernport | 0.64225 | 0.17825 | 0.25044 | 0.12255 | 0.1815
Lower Murray | 0.046039 | 0.063748 | 0.087234 | 0.38629 | 0.10083
Barwon | 0.15591 | 0.13359 | 0.20341 | 0.164 | 0.082222
City West | 0.044645 | 0.063251 | 0.056613 | 0.097823 | 0.071889
Water quality complaints - by cause (percent of quality complaints)
| Colour | Taste/odour | Other
City West | 67.2727 | 27.8788 | 4.8485
South East | 84.2813 | 12.5382 | 3.1804
Yarra Valley | 80.9799 | 13.8889 | 5.1312
Barwon | 51.5385 | 29.2308 | 19.2308
Central Highlands | 48.9362 | 38.2979 | 12.766
Coliban | 51.2953 | 31.6062 | 17.0984
East Gippsland | 48 | 30 | 22
Gippsland | 45.3416 | 34.1615 | 20.4969
Goulburn Valley | 59.6639 | 29.4118 | 10.9244
GWMWater | 76.7442 | 15.1163 | 8.1395
Lower Murray | 50 | 44.1176 | 5.8824
North East | 75.4545 | 4.5455 | 20
South Gippsland | 66.4804 | 27.3743 | 6.1453
Wannon | 40.4651 | 51.1628 | 8.3721
Western | 71.1765 | 23.5294 | 5.2941
Westernport | 50 | 26.6667 | 23.3333
Microbiological water quality (per cent of customers receiving drinking water meeting E. coli requirements)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
City West | 100 | 100 | 100 | 100 | 100
South East | 100 | 100 | 100 | 100 | 100
Yarra Valley | 100 | 100 | 100 | 100 | 99.3141
Barwon | 100 | 100 | 100 | 99.9988 | 100
Central Highlands | 100 | 100 | 100 | 100 | 99.6909
Coliban | 99.4 | 100 | 100 | 100 | 99.5
East Gippsland | 100 | 100 | 100 | 100 | 100
Gippsland | 100 | 100 | 88.6 | 100 | 100
Goulburn Valley | 100 | 100 | 100 | 100 | 100
GWMWater | 100 | 100 | 100 | 100 | 99.43
Lower Murray | 100 | 100 | 100 | 100 | 100
North East | 100 | 100 | 100 | 100 | 100
South Gippsland | 100 | 100 | 100 | 100 | 100
Wannon | 100 | 100 | 100 | 99.8 | 100
Western | 100 | 100 | 100 | 99.8 | 100
Westernport | 100 | 100 | 100 | 100 | 100
Turbidity (per cent of customers receiving drinking water meeting turbidity requirements)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
City West | 100 | 100 | 100 | 100 | 100
South East | 100 | 100 | 100 | 100 | 100
Yarra Valley | 100 | 100 | 100 | 100 | 100
Barwon | 100 | 100 | 100 | 99.9 | 100
Central Highlands | 100 | 100 | 100 | 100 | 100
Coliban | 100 | 100 | 100 | 100 | 100
East Gippsland | 100 | 100 | 100 | 100 | 100
Gippsland | 100 | 100 | 100 | 100 | 100
Goulburn Valley | 100 | 100 | 100 | 100 | 100
GWMWater | 100 | 99.4 | 100 | 100 | 100
Lower Murray | 100 | 100 | 100 | 100 | 100
North East | 100 | 100 | 100 | 99.8 | 100
South Gippsland | 100 | 100 | 100 | 100 | 100
Wannon | 100 | 100 | 100 | 100 | 100
Western | 100 | 100 | 100 | 100 | 100
Westernport | 100 | 100 | 100 | 100 | 100

## 7. Environmental
Essential Services Commission
2017-18 Water Performance Report
Data - How are water businesses managing their environmental impacts?
Volume of effluent reused (megalitres)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Melbourne Water | 49723 | 46709 | 42167 | 38846 | 47038
City West | 138.15 | 139.9 | 2285.23 | 2131.734 | 2350.41
South East | 2966.517 | 3397 | 3967.8219 | 2825.7158 | 4562.51
Yarra Valley | 3134.5 | 3664.8 | 3905.7 | 3551.2 | 4018.7
Barwon | 5008.34 | 5078.37 | 6182.8757 | 5538.1018 | 6070
Central Highlands | 1682.7613 | 1530.695 | 1897.624 | 1103.9998 | 1593.054
Coliban | 2657.798 | 3197.525 | 3443.6949 | 2334.7 | 3960
East Gippsland | 2902.5 | 2754.8702 | 3171.98 | 2932.7661 | 2773
Gippsland | 1103.713 | 1700.5368 | 1957 | 2168.0071 | 2291.0962
Goulburn Valley | 6594.08 | 7686.48 | 7194.0667 | 5698 | 7753.7
GWMWater | 2302.1 | 2232.8207 | 2108.109 | 2207.8 | 2147.24
Lower Murray | 3201.5 | 2798.941 | 2790.5 | 2622.5 | 3159
North East | 1894.79 | 2552.43 | 2590.32 | 2391.08 | 2925.9
South Gippsland | 108.4698 | 145.4 | 220.762 | 136.1 | 123.3
Wannon | 1251.4711 | 1977.8 | 1727.7 | 1656.001 | 1788.1
Western | 5701 | 5366.5 | 8955.76 | 8814.7022 | 9176
Westernport | 272.921 | 253.79 | 295 | 287.734 | 328.852
Proportion of effluent reused (per cent)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
East Gippsland | 96.2482 | 99.995 | 97.8248 | 95.4078 | 100
Goulburn Valley | 94.1814 | 85.2368 | 89.4905 | 71.8403 | 84.1171
Western | 74.7378 | 71.5533 | 82.5599 | 72.4551 | 79.2264
GWMWater | 82.6162 | 100.293 | 101.5467 | 59.5388 | 63.6487
Lower Murray | 56.1106 | 50.5438 | 48.9158 | 43.2591 | 52.8156
City West | 2.7354 | 2.8149 | 42.8674 | 38.9406 | 43.564
Coliban | 32.2227 | 37.0655 | 39.8335 | 24.8913 | 39.2818
North East | 25.1367 | 32.1069 | 31.7494 | 26.6433 | 34.7018
South East | 23.9019 | 28.9822 | 31.8054 | 18.3022 | 33.6838
Yarra Valley | 28.525 | 31.8809 | 30.3367 | 27.3449 | 33.2454
Westernport | 17.5064 | 18.8621 | 22.1602 | 19.7175 | 21.3972
Barwon | 18.5051 | 19.9639 | 23.3638 | 20.7221 | 20.9209
Wannon | 11.9804 | 20.3149 | 19.3458 | 14.7336 | 17.6772
Melbourne Water | 15.9519 | 16.2706 | 14.1202 | 11.8676 | 15.0502
Central Highlands | 15.711 | 14.9662 | 18.7813 | 8.6093 | 14.4387
Gippsland | 4.9856 | 7.5186 | 8.477 | 8.4575 | 9.4004
South Gippsland | 2.6531 | 4.0209 | 6.4267 | 3.5144 | 3.3578
Proportion of biosolids reused (per cent)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Melbourne Water | 0 | 445.4496 | 422.1777 | 545.8312 | 396.3712
City West | 100 | 100 | 100 | 100 | 100
South East | 156.7844 | 79.1943 | 87.0712 | 195.7576 | 93.7697
Yarra Valley | 0 | 0 | 0 | 0 | 0
Barwon | 207.0991 | 247.5831 | 100 | 100 | 100
Central Highlands | 132.0118 | 318.5771 | 100 | 100 | 158.2327
Coliban | 100 | 131.7735 | 610.2917 | 100 | 100
East Gippsland | 0 | 0 | 0 | 0 | 0
Gippsland | 100 | 100 | 100 | 100 | 100
Goulburn Valley |  | 100 | 100 |  | 0
GWMWater |  | 0 |  |  | 0
Lower Murray | 0 | 0 | 0 | 77.5077 | 0
North East |  | 495.7958 | 0 | 0 | 0
South Gippsland |  | 70.5092 | 84.354 | 73.5196 | 74.5768
Wannon | 91.2049 | 95.1172 | 129.001 | 201.5991 | 118.2039
Western | 43.9761 | 162.5643 | 77.1191 | 109.7776 | 85.9663
Westernport | 106.4093 | 134.9574 | 0 | 91.5854 | 0
Historic net greenhouse gas emissions (equivalent tonnes of CO2)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Melbourne Water | 339137.2507 | 477881 | 432997 | 438332 | 453419
City West | 10310.01 | 11102 | 13708 | 11227 | 12718
South East | 36645 | 42326 | 43556 | 42098 | 47300
Yarra Valley | 32708 | 33255 | 33762 | 34083 | 0
Barwon | 39942.6048 | 38849.4972 | 40504 | 40603.857 | 40649
Central Highlands | 16271 | 16277 | 29779 | 15707 | 15075.5511
Coliban | 31648.2 | 44006 | 56374.4 | 33645 | 28898
East Gippsland | 8098.13 | 7912.18 | 8011.34 | 8556.93 | 8348
Gippsland | 38246.1 | 42706 | 60964 | 37549 | 37881
Goulburn Valley | 48750 | 49295 | 44754 | 40581 | 58908.1642
GWMWater | 20401.3 | 19087.37 | 18418.8 | 13496.4 | 15112
Lower Murray | 17366 | 17912 | 20015 | 19162.73 | 21071
North East | 41520.7779 | 41162 | 43862 | 37737 | 35605
South Gippsland | 6872.1889 | 7410.827 | 7384.9149 | 8347.4296 | 9248.68
Wannon | 29095 | 31725 | 32970 | 28880 | 30674
Western | 15217 | 30646 | 31900 | 32226 | 33282
Westernport | 6471 | 6473 | 6053 | 6476 | 6637
Sources of greenhouse gas emissions (equivalent tonnes of CO2) 2017-18
| Water | Sewerage | Transport | Other | Offsets
Melbourne Water | 60329 | 385456 | 2564 | 5070 | 0
City West | 490 | 11361 | 1217 | 838 | 1188
South East | 5486 | 39939 | 1492 | 1599 | 1216
Yarra Valley | 8682 | 22718 | 1072 | 1699 | 34171
Barwon | 5262 | 32930 | 981 | 1498 | 22
Central Highlands | 2283.9164 | 11268.6588 | 600.3369 | 937.639 | 15
Coliban | 5220 | 22369 | 792 | 517 | 0
East Gippsland | 3560 | 4322 | 311 | 155 | 0
Gippsland | 10098 | 24238 | 1346 | 2199 | 0
Goulburn Valley | 14152.6531 | 43980.4925 | 909.03 | 333.2164 | 467.2277
GWMWater | 11558 | 3524 | 1026 | 527 | 1523
Lower Murray | 7169 | 13919 | 403 | 360 | 780
North East | 9202 | 25079 | 855 | 469 | 0
South Gippsland | 2228.52 | 6019.48 | 811.44 | 189.24 | 0
Wannon | 12502 | 16992 | 715 | 465 | 0
Western | 9306 | 21050 | 685 | 2241 | 0
Westernport | 1467 | 4681 | 226 | 263 | 0
Total | 168996.0895 | 689846.6313 | 16005.8069 | 19360.0954 | 4561
% | 18.9% | 77.15% | 1.79% | 2.165% | -
Sewerage treatment plant volume treated - Primary (megalitres)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Melbourne Water | 0 | 0 | 0 | 0 | 0
City West | 0 | 0 | 0 | 0 | 0
South East | 0 | 0 | 0 | 0 | 0
Yarra Valley | 0 | 0 | 0 | 0 | 0
Barwon | 0 | 0 | 0 | 0 | 0
Central Highlands | 0 | 0 | 0 | 0 | 0
Coliban | 0 | 0 | 0 | 0 | 0
East Gippsland | 0 | 0 | 0 | 0 | 0
Gippsland | 9176 | 8251 | 9672.549 | 9405 | 8972.3
Goulburn Valley | 0 | 0 | 0 | 0 | 0
GWMWater | 0 | 0 | 0 | 0 | 0
Lower Murray | 0 | 0 | 0 | 0 | 0
North East | 0 | 0 | 0 | 0 | 0
South Gippsland | 0 | 0 | 0 | 0 | 0
Wannon | 0 | 0 | 0 | 0 | 0
Western | 0 | 0 | 0 | 0 | 0
Westernport | 0 | 0 | 0 | 0 | 0
Sewerage treatment plant volume treated - Secondary (megalitres)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Melbourne Water | 182975.6 | 174937.3 | 185994 | 199894 | 191302
City West | 0 | 82.2 | 0 | 0 | 84
South East | 950 | 1316 | 363 | 354 | 823
Yarra Valley | 762 | 715 | 818 | 958.1315 | 0
Barwon | 24637.44 | 24238.02 | 25151.77 | 25338.91 | 27797
Central Highlands | 1453 | 1014.14 | 1091 | 1900.32 | 1656.68
Coliban | 2629 | 2603 | 2215 | 2283 | 2034
East Gippsland | 1572 | 1735 | 1551 | 1720.3767 | 1718
Gippsland | 13916 | 13336 | 13285.94 | 13544.0425 | 13155.7024
Goulburn Valley | 12786 | 12051 | 12925 | 12653.02 | 12076.06
GWMWater | 3954 | 3550.3 | 3436.2 | 3682.9 | 3401.8
Lower Murray | 5706 | 5538 | 5705 | 4181 | 3700
North East | 5065 | 4824.35 | 5386 | 6180 | 5457.3
South Gippsland | 1862 | 1619.7 | 1666.696 | 1886.3 | 1965
Wannon | 10753 | 10236 | 9822 | 11910 | 11008
Western | 5707 | 6034 | 6146.4387 | 6565 | 6570.355
Westernport | 1488 | 1321 | 1294 | 1430 | 1510.62
Sewerage treatment plant volume treated - Tertiary (megalitres)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Melbourne Water | 131091.2 | 126233.4 | 123071 | 132777 | 128952
City West | 4917.7 | 4835.7 | 5175 | 5525.419 | 5397
South East | 10235 | 9829 | 11467 | 12519 | 11955
Yarra Valley | 9561 | 9548 | 10096 | 10888.9043 | 11153
Barwon | 2727.33 | 2985.75 | 3115.17 | 2703.53 | 2703
Central Highlands | 8085 | 9213.56 | 9013 | 10197.11 | 9124.25
Coliban | 8759 | 9233 | 9694 | 10573 | 10214.7
East Gippsland | 1443.26 | 1492 | 1514 | 1479.2592 | 1385
Gippsland | 4381 | 5265 | 5076.38 | 5130 | 5271
Goulburn Valley | 309 | 846 | 770 | 1494 | 1348.24
GWMWater | 0 | 360.7 | 356.8 | 403.1 | 354.5
Lower Murray | 0 | 0 | 0 | 1881 | 2280
North East | 4357.76 | 4276.88 | 4413 | 4817 | 4261.95
South Gippsland | 1294.986 | 1057 | 981.448 | 1129.4 | 1180
Wannon | 33 | 111 | 84 | 31 | 42.29
Western | 2860 | 2996 | 3003.8633 | 3619 | 3476
Westernport | 0 | 0 | 0 | 0 | 0
Sewerage treatment plant volume treated - Total (megalitres)
| 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18
Melbourne Water | 314066.8 | 301170.7 | 309065 | 332671 | 320254
City West | 4917.7 | 4917.9 | 5175 | 5525.419 | 5481
South East | 11185 | 11145 | 11830 | 12873 | 12778
Yarra Valley | 10323 | 10263 | 10914 | 11847.0358 | 11153
Barwon | 27364.77 | 27223.77 | 28266.94 | 28042.44 | 30500
Central Highlands | 9538 | 10227.7 | 10104 | 12097.43 | 10780.93
Coliban | 11388 | 11836 | 11909 | 12856 | 12248.7
East Gippsland | 3015.26 | 3227 | 3065 | 3199.6359 | 3103
Gippsland | 27473 | 26852 | 28034.869 | 28079.0425 | 27399.0024
Goulburn Valley | 13095 | 12897 | 13695 | 14147.02 | 13424.3
GWMWater | 3954 | 3911 | 3793 | 4086 | 3756.3
Lower Murray | 5706 | 5538 | 5705 | 6062 | 5980
North East | 9422.76 | 9101.23 | 9799 | 10997 | 9719.25
South Gippsland | 3156.986 | 2676.7 | 2648.144 | 3015.7 | 3145
Wannon | 10786 | 10347 | 9906 | 11941 | 11050.29
Western | 8567 | 9030 | 9150.302 | 10184 | 10046.355
Westernport | 1488 | 1321 | 1294 | 1430 | 1510.62
Volume of effluent recycle by use (ML)
| Volume supplied to retailers (ML) | Urban & industrial (ML) | Agricultural uses (ML) | Beneficial allocation (ML) | Within process (ML) | Total reuse
Melbourne Water | 14220 | 7 | 13197 | 6089 | 10309 | 43822
City West | 0 | 2345.5 | 0 | 0 | 4.91 | 2350.41
South East | 0 | 2402.4 | 575.8 | 0 | 1584.2 | 4562.4
Yarra Valley | 0 | 298.6 | 1151 | 0 | 2569.3 | 4018.9
Barwon | 0 | 2202.54 | 1698.92 | 0 | 2168.79 | 6070.25
Central Highlands | 0 | 49.933 | 988.679 | 232 | 322.455 | 1593.067
Coliban | 0 | 1477.7 | 2480.7 | 0 | 0 | 3958.4
East Gippsland | 0 | 0 | 1649 | 1125 | 0 | 2774
Gippsland | 0 | 152.8282 | 1551.945 | 586 | 0 | 2290.7732
Goulburn Valley | 0 | 578.6 | 7175.1 | 0 | 0 | 7753.7
GWMWater | 0 | 648.7 | 1491.6 | 0 | 6.9 | 2147.2
Lower Murray | 0 | 0 | 3159.328 | 0 | 0 | 3159.328
North East | 0 | 241.95 | 2579.35 | 0 | 104.62 | 2925.92
South Gippsland | 0 | 12.1 | 111.2 | 0 | 0 | 123.3
Wannon | 0 | 149.3 | 1557.2 | 0 | 81.6 | 1788.1
Western | 0 | 1094 | 4710 | 0 | 3372 | 9176
Westernport | 0 | 68.841 | 249.264 | 0 | 10.747 | 328.852
Total | 14220 | 11729.9922 | 44326.086 | 8032 | 20534.522 | 98842.6002
% | 14.39% | 11.87% | 44.85% | 8.126% | 20.77% | -