## Decisions made
Decisions made under the Victorian Energy Upgrades program (since 1 January 2019)
Last updated: 1-Mar-23
This register has been published to provide our program participants with an easy method to track and review decisions made by the commission under the VEU program which have resulted in amendments to program requirements. This register does not include updates to the VEU program framework to reflect legislative changes made by the Department of Environment, Land, Water and Planning Details. Details of our decisions can be found in our program updates - see www.esc.vic.gov.au/updates-veu-program
No. | Issue category | Type of enquiry/activity | Issue/query description | Decisions made | Rationale | Date decision communicated (including link to update page)
1 | Activity requirements | Lighting - Activity 21A | What are the training/licensing requirements for activity 21A? | From 12 February 2019, installers undertaking installations under activity 21A must: • be licensed electricians registered with Energy Safe Victoria • have been provided training on how to deal with mercury risks and spillages appropriately | Our decision incorporates the views of the majority of stakeholders’ submissions that a cautious approach to mitigating electrocution risks (of installers or energy consumers) is appropriate given the severity of its consequences. Given the anticipated volume and scale of this activity, it is likely that installers will be performing upgrades at a significant number of premises which poses electrocution risks. Licensed electricians are best positioned to identify and mitigate these risks and to communicate them to the consumers and/or relevant regulators. | 2019-02-12
2 | Legislative change | Gas efficiency activities | Introduction of new gas efficiency activities into the VEU program | We released guidance setting out our requirements for participants to undertake these new activities, including installer requirements, decommissioning requirements and evidentiary requirements. | To provide stakeholders with clarity on the obligations and requirements for participating in the new gas efficiency activities | 2019-03-01
3 | Activity requirements | Lighting - Activity 21A | Request from stakeholders to extend the activity 21A transition period for the installation of non-omni directional LEDs from 30 June 2019 to 30 September 2019 | We approved a one month extension to installation of non-omni directional lamps to 31 July 2019. | We accepted the position made by the majority of stakeholders in their submissions that a transition period should be extended to allow additional time for Accredited Persons to install non-omni-directional lamps. We believe an extension of one month to 31 July 2019 appropriately balances the requirements and expectations of program stakeholders. | 2019-05-01
4 | Activity requirements | Lighting - Activities 21, 27, 34 and 35 | What changes should be made to program requirements with the commencement of E-waste legislation starting 1 July 2019? | We updated VEU program guidance documents and forms to: • provide a general understanding of the requirements of EPA’s e-waste policy • include provision of e-waste management practices as part of applying for accreditation or activity approval • include a declaration of compliance with e-waste policy for VEEC assignment forms for lighting activities | Updated guidance reflects new e-waste management requirements from 1 July 2019 set by the Environment Protection Authority (EPA) under the Environment Protection Act 1970. | 2019-07-01
5 | Activity requirements | VEEC eligibility | Can VEECs be claimed at an off-grid site powered by solar and battery storage? | VEECs are only eligible to be created for installations at off-grid sites where the fuel source emits greenhouse gas emissions. VEECs cannot be created for installations at sites where the electricity for the off-grid site is generated by means that do not produce greenhouse gas emissions such (e.g. solar, hydro, wind etc.). | The purpose and objectives of the program as set out in the VEET Act 2007 is to promote the reduction of greenhouse gas emission and to encourage the efficient use of electricity and gas. Certificates under the VEU program are created for each whole tonne of carbon dioxide equivalent of greenhouse gases to be reduced by the undertaking of an activity. In view of the above, VEECs are only eligible to be created at a site where the energy supplied generates greenhouse gases | 2019-07-17
6 | Activity requirements | Water heating activities | Are the following water heating systems eligible to be replaced:- - A faulty heat pump water heater replaced with an instantaneous gas heater? - An electric boosted solar water heater where the solar component has been disconnected? | A faulty heat pump water heater or a gas/electric boosted solar water heater that is disconnected from the solar panel components is not eligible for replacement under the VEU program. | An eligible replacement environment is an existing electric resistance or gas water heater connected to an electricity supply before it is decommissioned. As there is no legal definition of electric resistance or gas water heaters under the VEET legislation, we have used industry standards to define products that operate outside of their intended use as not being eligible for replacement under the program. | 2019-08-09
7 | Activity requirements | Lighting - Activities 21 (A -F) | Are the licensed electricians required to attend the premises where an activity 21(A-F) installation has taken place to sign off on the installation? | The licensed electrician is required to sign off the VEEC assignment form at consumer premises | Accredited persons and their licensed electricians are responsible for ensuring they are providing effective supervision of any work performed by apprentices for installations undertaken under activities 21A, 21C, 21D, 21E and 21F of the program. Our view is that 'effective supervision' will require the licensed electrician to, at minimum, attend the installation premises for sign-off the VEEC assignment form. | 2019-08-29
8 | Legislative change | Project-based activities | Updates to reflect release of the Measurement and Verification in Victorian Energy Upgrades – Specifications - Version 3.0 | We released updated Information on multi-site projects and several other minor changes and clarifications. We also introduced new requirements around lighting equipment and photographic evidence for project-based activities | Changes made to reflect release of the Measurement and Verification in Victorian Energy Upgrades – Specifications - Version 3.0 | 2019-09-12
9 | Activity requirements | In home display - Activity 30 | What changes need to be made to program requirements given introduction of app-based IHD units for installation under the program? | App-based units are eligible under the VEET regulations. To reflect the inclusion of app-based IHD units, we updated following requirements for activity 30 :- • installer requirements • evidentiary requirements • VEEC assignment form requirements. | App-based in-home display units raise new data privacy and installation risks to the traditional in-home display units which were installed under the program. We have updated our requirements to mitigate these risks. | 2019-09-13
10 | Product requirements | Lighting | The Electrical Equipment Safety System (EESS) requirements for the sale of electrical equipment in Victoria becomes mandatory from 1 October 2019. All self–ballasted LED lighting equipment and drivers (control and conditioning devices) are affected by the changes and must be registered on the national Electrical Regulatory Council’s (ERAC) database. | From 1 October 2019, applicants must provide evidence to us that their products are registered in the ERAC database when submitting new applications for incandescent lighting products under the VEU program, except for product category 21C. The evidence required is a screen shot of the ERAC database showing the brand and model of the product which is being applied for. | Updates made to our requirements to reflect the Electrical Equipment Safety System (EESS) requirements (mandatory from 1 October 2019) | 2019-09-20
11 | Activity requirements | Lighting - Activity 34 | What types of lighting upgrades are eligible under activity 34 J6? | A J6 site refurbishment must be a renovation or improvement to an existing site that includes the installation of lighting products which are listed on the Register of Products at the time of VEEC creation. If there is no refurbishment of the site, then the lighting upgrade is not an eligible J6 upgrade. | Given the purpose and objectives of the act being the reduction of greenhouse gas emissions, VEECs are only eligible to be created for building based lighting upgrades (activity 34): - at sites that are existing buildings and involve the replacement of an inefficient lamp (34 Non-J6) or - at an existing building involving the refurbishment of the site that is required to comply with Part J6 of the BCA and installation of efficient lamps (34 J6). Our position is that to meet the criteria of a ‘refurbishment’, the site must have already been previously used and occupied prior to the upgrade. | 2019-10-09
12 | Product requirements | In home display - Activity 30 | What changes need to be made to program requirements given introduction of mains powered IHD units for installation under the program? | We made updates to our product application requirements and activity requirements for in home display units which require modifications to any electrical circuit or the meter box to: • include guidance on what documents must be submitted with the product application for these units • include activity requirements that installation of these units require a licensed electrician and a Certificate of Electrical Safety | Updates made to our program requirements to reflect the specific product and installation risks of mains powered IHD units. | 2019-10-18
13 | Activity requirements | Water heating and space heating activities | Stakeholder queries regarding our water heating and space heating evidentiary requirements | We updated our evidentiary requirements for water heating and space heating and cooling activities and clarified the use of appendix(s) in VBA Compliance Certificates and Certificates of Electrical Safety. Accredited persons are required to meet these new evidentiary requirements effective from 12 December 2019. | We have updated our evidentiary requirements to: - promote consistency across the evidentiary requirements for water heating and space heating and cooling activities in the program - gain further assurance that the products being upgraded are eligible - gain assurance that the appropriately licensed person is performing the decommissioning work - ensure consistency in the use of appendix(s) in VBA Compliance Certificates and Certificates of Electrical Safety. | 2019-11-28
14 | Activity requirements | Lighting activities | What is appropriate classification for lighting mounted on container cranes? | Lights mounted on container cranes should be claimed under non-building based lighting upgrades (activity 35). This upgrade would be of a type of area ‘a public or outdoor space that is not a sports field’ and be awarded 4,500 annual operating hours | Upgrading of these lights best aligns with the requirements set out under activity 35 | 2020-02-20
15 | Activity requirements | Lighting activities | What is appropriate activity classification for backlit pylon signage? | Free standing illuminated signage (e.g. pylon signage) should be claimed under non-building based lighting upgrades (activity 35). Where such a signage is installed in a car park, APs will be able to claim 4,500 annual operating hours (AOH). | We believe that adoption of this flexible approach delivers the right regulatory outcome for the program, whilst minimising red tape for accredited persons. | 2020-02-20
16 | Activity requirements | Lighting activities | Clarification regarding lighting upgrades affixed to structures such as wine vats, silos, conveyor belts and piping | We note that these structures can occur in either indoor or outdoor environments. Accredited persons will be able to claim as follows: • For structures in indoor environments - claimed either under activity 35 or under activity 34 as a class 10b structure or based on classification of space type in which it is installed. • For structures in outdoor environments - claimed either under activity 35 or under activity 34 as a class 10b structure. | Adoption of this flexible approach delivers the right regulatory outcome for the program, whilst minimising red tape for accredited persons. | 2020-02-20
17 | Activity requirements | Lighting activities | Clarification regarding lighting upgrades in open air car parks upgrades | Accredited persons will be able to claim as follows: • Luminaires in an open air car park environment attached to a pole, bollard, canopy, or similar, to be claimed under activity 35. • Luminaires attached to the walls of a building illuminating an open air car park is able to be claimed either under activity 34 or activity 35. The above type of upgrades are awarded 4,500 annual operating hours when claimed under either activity 34 or activity 35. | Adoption of this flexible approach delivers the right regulatory outcome for the program, whilst minimising red tape for accredited persons. | 2020-02-20
18 | Activity requirements | Lighting activities | Clarification on which facilities meet the definition of health and fitness centres and gymnasium operations classified as Division R (9111) in ANZSIC with 5,100 annual operating hours | Health and fitness centres which operate based mainly on provision of time tabled classes (e.g. cross-fit, yoga, aerobics, martial arts classes) are not eligible under this space type and must be claimed as a Class 9b space type | This position aligns with exclusions/references section listed under Division R(9111) which classifies units mainly engaged in providing sports and recreation education, coaching or instructional services as Class 8211. This position also aligns with the operating hours of many of these ‘class based’ centres. | 2020-02-20
19 | Product requirements | Lighting | Clarification on product testing requirement to submit a separate IES TM21 test report | IES TM-21-11 test report required unless the TM21 information is reported in the LM80 report. | This change will reduce the testing burden on lighting applicants without compromising the product performance. | 2020-02-20
20 | Product requirements | Lighting | Clarification on product testing requirements under LM80 test standard | The test must be conducted under minimum of two temperatures. One of the test conditions must be either 55°C or 85°C. | This clarification is based on one of the test conditions of the IES LM80 standard | 2020-02-20
21 | Product requirements | Water heating products | Clarification on product application requirements for water heaters | We released updated documentary requirements from product applicants | To provide the commission with assurance that the product applied for meets the requirements set out in the VEU specifications | 2020-03-11
22 | Activity requirements | Lighting activities | Clarification on timing on recycling invoice requirements | Lighting equipment needs to be decommissioned prior to certificate creation. However, recycling invoices only need to be provided to us upon request - either as part of the certificate validation process (which will usually occur five to 10 days after accredited persons have submitted their certificate creation claims) or our post-registration audit process. | We accept that accredited persons may experience delays in receipt of recycling invoice further to depositing their lighting equipment for recycling, and that it is reasonable for accredited persons to create certificates prior to receipt of this recycling invoice. | 2020-04-21
23 | Activity requirements | Lighting activities | Clarification on how lighting upgrades for retirement villages should be claimed for under the VEU program | Lighting upgrades at retirement villages are not to be claimed as class 9c buildings under activity 34 of the program, but as upgrades under residential premises. | Class 9c (Aged care buildings) are residential accommodation for elderly people who, due to varying degrees of incapacity associated with the ageing process, are provided with personal care services and 24 hour staff assistance to evacuate the building in an emergency. Retirement villages, which usually represent a housing community, are more aligned to residential premises. | 2020-04-21
24 | Activity requirements | Lighting activities | We have experienced issues validating that a J6 creation claim has been undertaken in compliance with Part J6 of the VEET regulations | We added the following to our evidentiary requirements for all J6 upgrades: - scope of works document - building permit (if required) - geo-tagged photographs (post installation). | These additional requirements help demonstrate that accredited persons have undertaken the lighting upgrade as part of a site refurbishment that is required to comply with Part J6 of the VEET regulations | 2020-04-21
25 | Activity requirements | Lighting activities | Guidance on evidentiary requirements for maintained emergency lighting where no document showing statutory legal requirements for safety or of the related purpose (e.g.) logbook exists | We amended evidentiary requirement for maintained emergency lighting to include an option of geo-tagged photos that shows the lighting control gear and battery. | Adoption of this flexible approach delivers the right regulatory outcome for the program, whilst minimising regulatory burden on accredited persons. | 2020-05-26
26 | Activity requirements | Lighting activities | We have identified instances where accredited persons have selected incorrect asset lifetime references in creating certificates under the program | We provided guidance to accredited persons on the types of upgrades which are not eligible to be claimed with the asset lifetime reference of 'luminaire replacement'. | Guidance was provided to mitigate the risk of incorrect creation claims by accredited persons | 2020-05-26
27 | Activity requirements | Covid requirements | What are requirements for APs seeking to undertake installations given COVID situation? | We require accredited persons to provide us with a written confirmation that: - your organisation has undertaken a risk assessment and developed a tailored COVIDSafe plan to manage the risks - your organisation has provided its employees (including third party contractors and agents) with appropriate training to manage these risks | This provides commission with assurance that APs will be undertaking VEU activities in accordance with COVIDSafe practices required for the sector | 2020-06-24
28 | Product requirements | Lighting products | Clarification on lighting product application requirements | We reduced requirements for product applications under building-based lighting upgrade where the product has already been approved either under public lighting upgrade or non-building-based lighting upgrade. Other changes have been made to the lighting product application guide to reflect updated requirements under lighting standards LM80-15 and TM21-19 test reports. Updated reporting requirements based on the new IES LM80-15 and IES TM21-19 standards come into effect on 31 October 2020. | To streamline and fast track application submission and approval process. To align our assessment based on the new standards | 2020-07-31
29 | Activity requirements | Covid requirements | What are implications of stage 4 coronavirus (COVID) restrictions in metropolitan Melbourne? | Work involving critical repairs to any premises where required for emergency or safety can be undertaken under stage 4 restrictions. Our current position is that the following upgrades are eligible under the program during the stage 4 restriction period: - replacement of failed water heating systems and space heating systems in residential premises are allowed - replacement of failed water heating systems, space heating systems, refrigerated display cabinets and gas fired boiler/heater or burners at permitted worksites are allowed. For upgrades that are not evidently allowed under stage 4 restrictions, we recommend you discuss the nature of your upgrades with the commission before carrying out the upgrade. Further, we note that APs should be reviewing the government’s restriction requirements themselves and taking responsibility for their own business decisions. | Guidance reflects the commission’s current understanding of eligibility under the VEU program, but this may change with the release of further information or advice from the Victorian Government. | 2020-08-12
30 | Activity requirements | Covid requirements | What are implications of stage 4 coronavirus (COVID) restrictions in metropolitan Melbourne? | Construction sector guidance pages have been updated to provide clarification that: - Upgrades and replacements can be undertaken at construction sites, including a residential renovation where the home is fully vacated, provided specialist contractors follow the worksite’s COVIDSafe Plan. - Repairs and maintenance can occur at a permitted work premises if they are required for the operations of that premises. It is up to the operator of the workplace to determine whether repairs and maintenance are required for this purpose - The replacement or upgrades of electricity or gas consuming equipment, including lighting, unless it is work involving critical repairs for an emergency or for safety reasons, is not permitted under the electricity, gas, water and waste services sector | Guidance reflects updates made to the construction sector guidance pages by DHHS/DJPR. | 2020-08-26
31 | Product requirements | Lighting | The lamp types listed in the 2018 specifications do not map well to the existing product type categories used in the VEU registry given legacy issues | We have recategorised LED lamps categorised as ‘LED other (240V)’ into more defined lamp types - in accordance with table outlined in program update of 24/9/20. | Change will provide a better understanding of the type of LED lamps being installed under the program and will enable the commission to implement system changes to minimise the risk of improper certificate creation claims. | 2020-09-24
32 | Activity requirements | Lighting | We have identified situations where APs have selected the incorrect asset lifetime references for certain lighting upgrades | We implemented changes in the VEU registry to prevent accredited persons (APs) from submitting certificate claims entered with invalid lamp ballast combination and/or asset lifetime references based on the upgrade lamp further to consultation on the proposed changes | Change will minimise the risk of improper VEEC creation claims by accredited persons. | 2020-09-24
33 | Activity requirements | Covid requirements | What are implications of stage 4 coronavirus (COVID) restrictions in metropolitan Melbourne? | FAQs on construction sector guidance pages have been updated. See program update of 30/9/20 for updated guidance. | Guidance reflects updates made to the FAQs of construction sector guidance pages by DHHS/DJPR. | 2020-09-30
34 | Product requirements | Lighting | We have received an increasing number of lighting products with switchable wattage settings for approval under the VEU program for installation under activity 34 | From 12 October 2020, applicants must submit for approval a product based on their highest wattage setting. We extended the transition period for requiring test reports related to LM80 -15 and TM21-19 standards to 31 October 2021. | This ensures that the certificates are awarded for the device based on it being set at the highest wattage setting to mitigate the risks of over-claiming of certificates. Products will be able to be used in the program with the switch set to any power setting. | 2020-10-09
35 | Activity requirements | Covid requirements | The Department of Environment, Land, Water and Planning (DELWP) have announced: - The reinstatement of activities 15, 17, 21 and 30 under the VEU program from 28 October 2020. - A delay in changes to the phasedown of activity 21 lighting incentives from 31 March 2021 to 30 June 2021. | Prior to resuming installations under activities 15, 17, 21 and 30 (or by 30 October 2020), accredited persons are required to: - submit their tailored High Risk COVIDSafe Plan to us. This includes accredited persons who have already previously submitted us their COVIDSafe Plans. - provide us with a declaration that your organisation has provided its employees (including third party contractors and agents) with appropriate training to manage these risks in accordance with the COVIDSafe Plan | This provides commission with assurance that APs will be undertaking VEU activities in accordance with COVIDSafe practices required for the sector | 2020-10-28
36 | Activity requirements | IHDs | The commission's installation requirements for 30B as listed in the activity guide make it impossible for IHDs to be installed in premises in embedded networks as those consumers do not have an NMI. Are these installations eligible to claim VEECs? | We have modified our activity requirements to facilitate installations at premises in embedded networks provided the following conditions are met: - The residential premises where the IHD unit is installed under activity 30B has a single and unique smart electricity meter identifier within the embedded electricity network - The charges for electricity consumption at the premises by the embedded network operator reflect consumption at the premises and the consumer is aware of the tariff rates. | Potential behaviour change by a consumer resulting in energy savings for IHDs installed in residential premises with a smart meter and where the consumer is charged for electricity consumed is expected to be the same, regardless of whether the consumer is in an embedded network. | 2020-11-20
37 | Activity requirements | Refrigerated display cabinets | What are appropriate installer requirements for refrigerated display cabinets? | There are two distinct types of refrigerated display cabinets (RDC): - a remote RDC which is normally a larger unit, where the compressor is housed externally to the main unit and requires an electrician to install. - an integral RDC which is normally a smaller unit, where the compressor is housed within the cabinet. These operate as a “plug in” unit like a domestic fridge. A licensed electrician is not required to install a plug in refrigerated display cabinet | We recognise that ‘plug in’ RDC installations do not typically need a licensed electrician registered with Energy Safe Victoria for installation Having a licensed electrician to install these products creates a barrier to the roll out of the activity and is disproportionate to the safety risks. | 2021-01-04
38 | Activity requirements | Lighting | In 2020 we conducted an audit investigation into LED high-bay installations where it appears that inefficient high-bay lamp products were installed to inflate the energy consumption of the original baseline environment. | We amended our evidentiary requirements for activity 34 to require: - For high-bay product replacements: − geo-tagged photographs of each upgraded space type showing the arrangement of at least 75 per cent of the existing lighting equipment before removal from its original position2 with the lights on. - For high-bay product replacements: − geo-tagged photograph(s) of the removed ballast boxes lined up in a row with the lamp holders facing up and in focus - An electricity invoice issued by the energy retailer to the energy consumer of the upgrade site. The electricity invoice must be issued within three months prior to the activity date. | These pieces of evidence were settled on further to consultation with stakeholders on proposed changes to our evidentiary requirements to mitigate the identified compliance risk. | 2021-01-11
39 | Activity requirements | Training | Our mandatory safety training units (VU21858 and VU21859) expired on 31 December 2020. As part of the reaccreditation process, the content of these two training units have been combined into one unit – VU23076. Two training units CPCCCM2021B and RIIWHS204D have also been superseded and replaced. | Changes were made to our mandatory safety training units to reflect unit changes. Installers applying for approval under the VEU program can continue to submit evidence of completion of the above 2020 training units up to 31 March 2021. | Changes to reflect unit changes and 3 month transition period given to provide registered training organisation (RTOs) an opportunity to transition to delivery of new VU 23076 unit. | 2021-01-22
40 | Activity requirements | Project-based activities | Feedback from stakeholders on project-based activities guidance documents | We updated our project-based activities guidance documents to clarify a range of matters. See the program update for detail of changes. | Update to clarify a range of items based on stakeholder feedback | 2021-02-11
41 | Activity requirements | Lighting | Activity 34 J6 upgrades | Activity 34 J6 upgrade updates to be include changes to Illumination power density (IPD) values, removal of the 'Maintained emergency lighting' space type and 'Unlisted space type with illuminance between 481 lx and 540 lx and updated space type wording. | Activity 34 J6 upgrades are being updated to align with the National Construction Code (NCC) 2019 (Volume one). | 2021-03-26
42 | Activity requirements | Lighting | Activity 34 non-J6 upgrades | Activity 34 non-J6 upgrades updated to reduce the high intensity discharge (HID) incentive, applying a new reduced discount factor of 0.6 to high intensity discharge lighting upgrades. Lamp circuit power (LCP) will be adjusted for metal halide, mercury vapour and high pressure sodium light sources to account for the reduced high intensity discharge incentive. | Activity 34 non J6 upgrades are being updated to align with the National Construction Code (NCC) 2019 (Volume one). | 2021-03-26
43 | Activity requirements | All business activities | Changes to ABN/ACN field in business activity creation forms. | The ABN/ACN field in all ‘business’ activity creation forms will be made mandatory. Accredited persons must record the ABN/ACN information of a consumer where they hold an ABN/ACN. If the consumer does not have an ABN or ABN, APs can record ‘N/A’ in the field. | This change aligns evidence requirements for all non-residential and business activities and will assist us in validating these activity creation claims. | 2021-03-26
44 | Activity requirements | Lighting | We have completed the stakeholder consultation and finalised our position on switchable products. | We will only register switchable lamps based on the rated wattage of the lamp. | Switchable products will still be able to be used in the VEU program, however, certificate claims will only be able to be made for the product based on its highest power setting. | 2021-03-29
45 | Activity requirements | Shower roses | Evidentiary requirements for shower rose replacement | The photo evidence for activity 17 has been changed to include a photo of the rose in its original position prior to its removal. This photo evidence must be clear, in focus and show the face of the rose. | Some common shower roses were already low flow and were not eligible for certificate creation | 2021-04-29
46 | Legislative change | All activities | Legislative changes to electricity emissions factors, and incandescent lighting and project-based activities | We have updated the Victorian Energy Upgrades registry and released updated guidance and forms to reflect changes to electricity emissions factors, incandescent lighting activities and project-based activities | Update made to reflect legislative changes | 2021-08-02
47 | Legislative change | Cold room | Introduction of cold room activity into the VEU program | We released guidance setting out our requirements for participants to undertake the cold room activity, including installer requirements and evidentiary requirements. | To provide stakeholders with clarity on the obligations and requirements for participating in the new cold room activity | 2021-08-16
48 | Product requirements | Solar or heat pump water heaters | Product application requirements for solar or heat pump water heaters | We released updated requirements for supporting evidence for brand and model in test reports, product test reports and clarification to the Australian standard | Product application requirements have been updated to ensure brands and models on test reports reconcile precisely and | 2021-08-17
49 | Activity requirements | Project-based activities | Stakeholder query on which party was required to keep documentation relating to a project-based activities project. | Energy consumer to provide the accredited person with documentation relating to the upgrade and accedited person to keep documentation for legislated timeframes. VEEC assignment form updated to reflect this. | The accredited provider is the liable party with respect to the VEU program and therefore must keep appropriate records relating to the activity. | 2021-08-31
50 | Activity requirements | Lighting | Clarification on definition and requirements of voltage reduction units for product category 34 | We will only approve voltage reduction units where they are used to reduce the supply of AC supply voltage. They will not be approved for regulating electronic power, such as for LED lighting. | Ensures that only units that result in energy efficiency outcomes are approved under the program, which aligns with the legislative intent. | 2021-10-11
51 | Activity requirements | Lighting | Stakeholder query on baseline lamps not being AEMO approved for public lighting upgrades | We have made amendments to the public lighting upgrade (activity 27) certificate creation form in relation to selection entries for "product approval type" and "baseline lamp type". | Changes made to better reflect the inputs you must provide when submitting creations for your public lighting upgrade activities in accordance with VEU specifications | 2021-10-21
52 | Relevant entity requirements | Extension to surrender dates | Timeframe for relevant entity liability for 2021 VEU compliance year | The commission has granted all energy retailers a three month extension for them to meet their 2021 VEU compliance year certificate obligations | Decision made to assist participants given the challenges VEU participants have faced over the previous 18 months due to coronavirus pandemic restrictions | 2021-10-25
53 | Product requirements | Lighting | Updated standard ANSI/IES TM-21-19 was released in October 2019 | We released a new TM-21 -19 calculator based on the revised standard to establish the lifetime of LED lamps. There will be a twelve-month transition period for applicants to submit applications using the new TM-21-19 calculator. Applicants can submit ISTMT reports based on either the new TM-21-19 method or the previous TM-21-11 method during the transition period (up to 31 October 2021). | Updated calculator based on the updated standard provides for more accurate estimate of projected lifetime of the lighting products | 2021-10-28
54 | Activity requirements | In home displays | Evidentiary requirements for in home displays | We updated our requirements to include: - updated photographic evidence requirements for non-Zigbee units to require a photo of the installed unit, showing both the meter serial number and the entire meter box with the IHD unit installed - updated training requirements to include installers being appropriately trained in the correct and safe installation of the IHD unit | This additional evidence is required to provide assurance that the IHD units are being installed correctly at consumers' premises | 2021-10-28
55 | Activity requirements | Refrigerator and freezer | We have been notified of cases where accredited persons were creating certificates for refrigerator and freezer upgrades without having delivered the product to the consumer. | We updated our evidentiary requirements to require accredited persons to collect both proof of purchase and delivery (or installation) of the installed product. | This additional evidence is required to provide assurance that the activity meets the requirements of the VEET regulations and specifications | 2021-10-28
56 | Legislative change | Refrigerated cabinet | VEU specifications changes commencing 30 October 2021 | We released updated guidance and forms for participants to undertake the revised refrigerated cabinet activity | Update made to reflect legislative changes | 2021-10-29
57 | Activity requirements | Water heating activities | Stakeholders have raised queries on a number of aspects of our administrative requirements for water heating and space heating activities | We: - amended our licensing requirements for our water heating activities, to allow registered plumbers to decommission products where no wiring work is required. - clarified the eligible environment for the two space heating activity scenarios (10A(iv) and 10A(v)) to require the decommissioning of two separate products. - updated the product criteria in our activity guide for activity scenarios 9A(iii) and 10A(iii) to give more clarify to industry. - updated our licensing and evidence requirements in the activity guide for activity scenarios 9A(ii) and 10A(iii) to provide for safe decommissioning of wood-fired room heaters and fireplaces | Updates provides clarity to industry on issues raised by stakeholders in respect of water heating activities | 2021-11-11
58 | Activity requirements | Project-based activities | Stakeholder query on how to apply the effective range rule under the measurement and verification method | We clarified how stakeholders are to apply the effective range rule under the measurement and verification method of the VEU program. | Clarification and detailed example should provide stakeholders with the guidance necessary to claim the correct amount of certificates under the measurement and verification method of the VEU program | 2021-12-01
59 | Product requirements | Lighting | Testing standard query from stakeholder on lighting products | We clarified the testing standards for ingress protection for lighting products | Clarification for product applicants on testing standards to apply | 2021-12-16
60 | Activity requirements | Cold room | Consultation with industry on the evidence requirements set for this activity which was introduced into the program in August | We updated our evidence requirements for cold room activity and clarified our position that an upgrade involving multiple cold rooms using a shared compressor(s) and/or condenser(s) – or a shared combined compressor and condenser in a single refrigeration system – can be claimed based on the number of cold room upgrades. | Changes were made to provide the right balance of minimising barriers to compliance and ensuring adequate checks are in place to guarantee compliance with the activity requirements. | 2021-12-22
61 | Legislative change | Commercial and industrial heat pump water heater activity | VEU specifications changes commencing 1 February 2022 | We released updated guidance and forms for participants to undertake the new commercial and industrial heat pump water heater activity including installer requirements, decommissioning requirements and evidentiary requirements. We also updated our registry and documents to reflect changes to building based lighting upgrades and electricity emissions factors for the program. | Update made to reflect legislative changes | 2022-01-31
62 | Activity requirements | Refrigerated cabinets | Concerns raised by stakeholders that refrigerated cabinets are being installed at inappropriate business premises and in inappropriate numbers | We released updated guidance to stakeholders on what refrigerated cabinet installations are considered to be fit for purposes and included new evidentiary requirements for the activity. | Updated guidance and forms to help ensure that refrigerated cabinet installations delivered under the program meet the requirements of the program's legislation | 2022-03-31
63 | Product requirements | Water heating products | Joint product application and registration process for the VEU program and ESS | We integrated the application process for residential/business and commercial and industrial heat pumps and solar hot water heater products across the Victorian Energy Upgrades program and New South Wales’ Energy Savings Scheme | Update made to reflect legislative changes to harmonise water heater product application process for applicants working across both jurisdictions | 2022-04-01
64 | Product requirements | Water heating products | What is applicable standard to be used in the VEU program for water heating products? | We can only accept products tested to AS/NZS 4234:2008 and cannot accept products tested to AS/NZS 4234:2021 for water heating products to be installed under the VEU program. | This decision reflects the standard referred to within the VEU specifications for water heating products | 2022-04-22
65 | Product requirements | Refrigerated cabinets | Incorrect product classes for a number of refrigerated cabinet products | We will be making changes in the product class assigned to sixteen refrigerated cabinet products (product category 32(21)) in the Register of Products for the VEU program effective from 7 May 2022 | Changes required to accurately reflect the product classes of the affected products with changes in the Greenhouse and Energy Minimum Standards (GEMS) register since the product was first listed. | 2022-04-28
66 | Code of conduct | Code of conduct | Introduction of code of conduct for scheme participants from 1 July 2022 | We published a new guideline to help Victorian Energy Upgrades program participants understand the requirements of the incoming enforceable code of conduct. | Guidelines has been released to support industry to understand the requirements of the new code of conduct and to comply with the code. | 2022-06-24
67 | Legislative change | Refrigerated cabinet | Declaration of zero discount factor for refrigerated cabinets from 29 June 2022 | VEU registry changes were made to implement the government's announcement today to remove incentives for any refrigerated cabinet products installed that belongs to products class 1 to 11 (inclusive) under the Greenhouse and Energy Minimum Standards (Refrigerated Cabinets) Determination 2020 (Cth) | Update to reflect declaration of the discount factor | 2022-06-29
68 | Code of conduct | Code of conduct | Introduction of code of conduct for scheme participants from 1 July 2022 | We released updated guidance and assignment form templates to reflect the new code of conduct. New templates are to be adopted by businesses and persons involved in engaging with customers or responsible for creating energy efficiency certificates under the VEU program by Friday 15 July. | Updated guidance and assignment form templates to reflect the requirements of the new code of conduct | 2022-07-01
69 | Code of conduct | Code of conduct | VEEC assignment form changes in light of introduction of code of conduct | We will accept the accredited person declaration to be a separate document to the VEEC assignment form until 31 July. From 1 August, all VEEC assignment forms need to be updated to incorporate the accredited person declaration. | Provision of transition time frame for accredited providers to update their VEEC assignment forms | 2022-07-11
70 | Legislative change | Refrigerated cabinet | Stakeholder enquiries seeking clarification on eligibility of refrigerated cabinets installed on 29 June 2022 | A certificate created based on refrigerated cabinet products (as listed in sub-section (b) of the Notice of Declaration of a Discount Factor dated 24 June 2022) installed on or after 3.35pm on 29 June 2022 is not eligible for registration by the commission. | Decision reflects legal position on the eligibility of these installations given timing of announcement of the discount factor on 29 June 2022 | 2022-07-22
71 | Product requirements | Water heating products | Product application process for water heating products | We made improvements to the online product application portal for water heating product applications. We also made changes to product application guides to clarify laboratory accreditation requirements of test laboratories and to clarify process for listing of GEMS-listed products on the VEU Register of Products. | Update made to streamline application process for water heating product applications. | 2022-09-06
72 | Code of conduct | Code of conduct | Stakeholder queries seeking clarification on code of conduct obligations | We released updated VEU Code of Conduct Guideline and new guidance and material for industry | Updated guideline and supporting material is aimed at supporting accrediting persons and scheme participants to understand and implement the code and create a positive experience for consumers participating in the VEU program | 2022-11-02
73 | Code of conduct | Code of conduct | Monitoring compliance with new code of conduct for scheme participants | We released updated VEU program accreditation application forms to collect information from new applicants and existing accredited persons applying for additional activities | Updated forms require applicants to provide additional information for us to assess their understanding of, and ability to comply with the code. | 2022-12-05
74 | Product requirements | Water heating products and in-home display units | Testing process for water heating products and in-home display units | We provided further clarification on accreditation requirements of laboratories and test report requirements for water heating and space heating/cooling products as well as for in-home display units | Update made to provide product applicants with additional clarity on our product testing requirements | 2022-12-15
75 | Activity requirements | Weather sealing activity | Potential safety risks of weather sealing upgrades in premises with flueless/open flue gas space heaters | Accredited persons or scheme participants must provide consumers at premises that have one or more open flue gas space heater(s) and/or flueless gas space heater(s) with information on:- - the importance of ensuring adequate ventilation when using their gas heater - advice by Victorian Building Authority and Sustainability Victoria that a licensed gasfitter should be engaged to check the safe operation of the appliances | Guidance update to mitigate the potential risks of weather sealing in premises with these heaters contributing to the risk of carbon monoxide poisoning | 2023-01-17
76 | Code of conduct | Code of conduct | Monitoring compliance with new code of conduct for scheme participants | We updated the upload forms to create VEECs to collect lead generation information for specific VEU activiites - activity 1D, activity 10, activity 15, activity 17, activity 30 and activity 32. We updated the terms and conditions when creating VEECs to inlcude acknowledgement of complaince with the VEU code of conduct. | Updates made to assist the commission monitor compliance of accredited persons with their code of conduct obligations and to ensure accredited persons are held accountable for the compliance of the scheme participants used to support their businesses. | 2023-01-25